## General
Vermont Green Business Application
I. Company Information |  |  |  | Answer | Additional comments (feel free to attach documents as well). Use this space to describe methods as desired.
Company's environmental representative - name, position, phone number, and email address
Company mailing address
Company's website
Link to company's environmental policy
Number of employees
Heating Fuel
Size of Facility (square footage)
Tons of materials recycled each year
What company takes recyclables?
Tons of organics collected each year
Who takes organics?
Gallons of cooking oil collected for recycling or for biodiesel each year.
| # of Replaced incandescents w/CFLs |  | # of bulbs replaced -
# of T-12 bulbs replaced with T-8 or T-5 bulbs
| # of bulbs replaced with LED bulbs |  | # of bulbs replaced
# of toilets replaced with low-flush units (1.6 gpf or lower), urinals (1 gpf or lower)
II. Required Standards - All standards in this section are required.
Communicating Environmental Practices with Staff
Training program for all employees and management about facility environmental practices and relevant regulations. (Attach section of employee training manual.)
Climate Action Pledge
Submit a "pledge" or "action" to the Vermont Climate Pledge Coalition. An action is an ongoing initiative or project that will reduce your organization's greenhouse gas emissions, or an initiative or project completed since joining the Coalition. A pledge is a promise to achieve or implement something new in the future, or a commitment to expand a current initiative in some significant way. Submit action or pledge here: http://www.vtenergydashboard.org/campaigns/the-vermont-climate-pledge-coalition-tracker Copy your pledge or action into the answer column here.
Environmentally Preferable "Green" Purchasing
Adopt an Environmentally Preferable Purchasing policy and post to the company's website. (Sample language posted on the VTGBP website http://dec.vermont.gov/environmental-assistance/green-business)
Do not use any Styrofoam© packaging for food or drinks.
Use at least 30% post-consumer recycled paper in the company's administrative office(s).
Purchase a "green"all purpose surface cleaner for all non-food contact surfaces; desks, tables, counters, mirrors, windows, and bathrooms.
Purchase a "green"hand soap for all hand-washing sinks in bathrooms.
|  | Purchase a "green" floor cleaner for all areas other than kitchens. | Description (product type, brand, environmental attribute) Estimated quantity purchased per year:
Purchase 100% recycled-content paper towels or use an energy efficient hand dryer in bathrooms.
Purchase 100% recycled-content napkins or use cloth napkins.
|  | Use recycled content toilet paper | % of post-consumer recycled content and # of rolls purchased each year
Energy Conservation
Contacted Efficiency Vermont to schedule an energy intake interview. (https://www.efficiencyvermont.com/)
|  | Installed vendor miser on all vending machines. | # of misers
Insulated all hot water, heating, and central air conditioning ducts/pipes, where feasible.
Maintain an HVAC preventative maintenance schedule and procedures that include changing filters at prescribed intervals and keeping air discharge grills clear.
Water Conservation
|  | Installed low-flow aerators or faucets (< 1.5 gpm) on all hand wash sinks. | Number of sinks & faucets that upgrades were made.
If a Hotel: Water Conservation
Install low-flow shower heads in all guest rooms.
|  | Install low-flow aerators or faucets (< 1.5 gpm) on all non-pot filling kitchen faucets and on all hand wash sinks in guest rooms and common areas. | Number of sinks & faucets that upgrades were made.
|  | Install high efficiency pre-rinse spray valve(s) (≤1.28 gpm) at kitchen washing and pot-filling sinks. | # of spray valves
Next Steps for Continual Improvement
Describe what other environmental best management practices will be evaluated or implemented in the coming year.
III. Elective Standards - You must implement (or already have implemented) at least eight (8) elective standards. The list below is intended as possible options for these standards. You may propose others that are unique to your business. The Program Coordinators will need to approve proposed standards.
Energy Conservation
Use shades/blinds on windows that create solar glare or excessive heat in workspaces or dining areas.
|  | Upgrade all Exit sign bulbs to LEDs | # of signs replaced with LEDs
Installed at least two of the following high efficiency, Energy Star appliances or equipment in the last five years. Check all that apply: Clothes washer (for linens, clothing, and uniforms done in-house), Dishwasher(s), Refrigerator(s), Fryer(s) , Ice maker(s) , Copying machine(s) , Other:
Installed a heat pump to conserve on heating and cooling energy use and expenses.
Weatherized building (e.g., weather stripping, foam insulation, window covers, or air conditioner covers, to reduce air infiltration.) Describe:
Installed thermopane or low E windows (including low E films) on more than 75% of property.
Installed renewable energy sources, such as solar voltaics, solar hot water, or wind. Describe, including estimate of kWh generated or saved:
Purchase renewable energy. Describe:
Purchase(d) carbon offsets. Describe:
Completed a cooling system upgrade on existing buildings that meets ENERGY STAR standards. (http://www.energystar.gov/index.cfm?c=lchvac.pr_crit_lchvac) Year installed: Efficiency: SEER , EER , IEER For further information see: http://energystar.supportportal.com/link/portal/23002/23018/Article/22536/What-is-SEEREER-HSPF
Completed a heating system upgrade on existing buildings that meets ENERGY STAR standards. (http://www.energystar.gov/index.cfm?c=products.pr_find_es_products) Year installed: Efficiency: SEER , EER , IEER For further information see: http://energystar.supportportal.com/link/portal/23002/23018/Article/22536/What-is-SEEREER-HSPF
Completed a whole system upgrade that uses an air source or a geothermal heat pump on existing buildings that meets ENERGY STAR standards. (http://www.energystar.gov/index.cfm?c=lchvac.pr_crit_lchvac)
Installed low pressure-drop air filters.
Installed exhaust heat recovery.
Installed refrigeration heat recovery.
Use biodiesel for vehicles or heating.
Installed variable frequency motor drives on ventilation (hood vent motor).
Environmentally Preferable "Green" Purchasing
|  | Use low VOC paint | Number of gallons per year
|  | Purchased EPEAT (Electronic Product Environmental Assessment Tool) computers www.epeat.net. | Provide (brand, model, and year purchased for each)
|  | Purchased 100% PC recycled content parking stops (curbs), picnic tables, benches, chairs, bike racks and other outdoor items. List: | # of each purchased per year
|  | Purchase remanufactured toner cartridges | # purchased per year
Clean uniforms and linens using environmentally friendly garment services, which use chlorine bleach-free or ozone wet-cleaning, or Perc-free dry cleaning, or use similar inhouse cleaning methods.
|  | Purchase other environmentally preferable products: | Description (product type, brand, environmental attribute) Estimated quantity purchased per year:
Use significant local sourcing of non-food purchases from direct purchasing or from a supplier who can document sources. Describe:
Send pallets, boxes, containers, etc. back to vendors for reuse.
Use reusable items on premises (e.g., reclaimed wood for framing)
Use biodegradable packaging
Use compostable straws.
Grounds/Landscaping
Adopted and practice grounds keeping or landscaping methods that achieve resource conservation. Check all that apply.
Use environmentally preferable products for pest control or landscaping
Integrated Pest Management plan/techniques in-house or through contract
|  | Use companies that are third party green certified pest control companies for landscaping and maintenance. | Please list certifier.
Use alternatives to rock salt for de-icing. Use compost in place of fertilizers.
|  | Use smart irrigation controls or schedule watering to minimize evaporation and overall water use. Practice low maintenance, water efficient landscaping like Xeriscaping that reduces or eliminates the need for watering and irrigation. Capture rainwater for reuse using cisterns, rain barrels, or irrigation bags. | Please describe water conservation methods
Lighting
Use lighting controls, such as timers, occupancy sensors, daylight sensors, and/or dimmers on indoor lighting.
Installed energy efficient outdoor lighting, such as CFLs and LEDs on the buildings and walkways.
Installed LEDs in more than 50 percent of interior lighting.
Replaced all parking lot lighting with LEDs.
New Building/Renovation
Use green building materials and techniques for all new construction and renovation.
Describe: Include yearly estimates of any measurable results.
Received Leadership in Energy & Environment Design (LEED) certification for new or existing building.
Transportation
|  | Use electric or hybrid vehicles for the business. | Describe vehicle (Make, Model & Year):
Use biodiesel for vehicles or heating. Describe (include type of biodiesel or % of biodiesel and estimate of quantity per year):
Host an electric car charger in the restaurant's parking lot.
Implement an anti-idling policy, including appropriate signage.
Provide bike rack for employees use.
Offer staff carpooling incentives.
Offer designated parking spots for hybrid and electric vehicles.
Refrigeration * This section is required for all resturaunts (see Resturaunt tab)
Recommission or retrocommission refrigeration units every two years.
Retrofitted with Electronically Commutated Motors (ECMs) for fans. Year installed:
Installed energy efficient compressors such as discus or scroll. Year installed:
Installed pressure controls, such as floating head and liquid pressure amplifiers. Year installed:
Installed variable speed/frequency drives on refrigeration motors.
Installed strip curtains on walk-in units.
Installed energy efficient lighting in walk-in or reach-in coolers (e.g., fluorescent, cold cathode, or LED).
Water Conservation
Install storm water management systems that protect the environment and promote water reuse.
Local Food Sourcing and Recovery
Use significant local sourcing of food from local farmers, and/or from a supplier who can document sources. Describe:
Use farm-gleaned vegetables on menu.
Donate unserved food to food kitchens, shelters, or other community program.
Offer food scraps for community gardens to compost, for chicken or pig feed to local residents or farmers, or other.
Other
Working towards zero waste goals. (Please describe strategies being implemented.)
Participate annually in a community environmental project.
Have community garden for employees.

## Links
Links
Requirements |  | Y/N | Comments
Preserve and Maintain Wildlife Habitat
Designate key habitats and environmentally fragile zones, and mark with signs.
Preserve wooded and natural areas in the out-of-play or minimal use portions of the course including varying heights and types of vegetation.
Provide enhanced stream and wetland buffers (minimum of 25 feet)
Maintain, clean and protect nesting boxes or other structures to enhance nesting sites for both birds and bats.
Leave dead trees standing when there is no safety risk. If trees must be removed, removals occur after August 1 to preserve nesting habitat.
Inventory and remove invasive species, and replace with native species where feasible.
Water Conservation
Locate stock-piled landscaping materials (e.g. sand, wood chips, mulch, gravel) away from drainage that could impact surface water.
Elective Standards |  | Y/N | Comments
Slow stormwater runoff from impervious surfaces (parking lot, cart paths) to prevent impact to surface water.
When aquatic weed management is required, seek physical solution (hand removal of plants), and if need be, seek the least toxic method of chemical weed control.
Where shorelines are in play, raise the mowing height along the water’s edge to slow and filter runoff.

## Restaurant
Restaurants
Requirements |  | Y/N | Comments
Energy Efficiency
Implemented preventative maintenace program for refrigeration and freezer units (clean and check seals on cooler/freezer doors, clean coil, etc.)
Refrigeration
Recommission or retrocommission refrigeration units every two years.
Retrofitted with Electronically Commutated Motors (ECMs) for fans. Year installed:
Installed energy efficient compressors such as discus or scroll. Year installed:
Installed pressure controls, such as floating head and liquid pressure amplifiers. Year installed:
Installed variable speed/frequency drives on refrigeration motors.
Installed strip curtains on walk-in units.
Installed energy efficient lighting in walk-in or reach-in coolers (e.g., fluorescent, cold cathode, or LED).
Local Food Sourcing and Recovery
Use significant local sourcing of food through the Vermont Fresh Network, from local farmers, and/or from a supplier who can document sources. Describe:
Use farm-gleaned vegetables on menu.
Donate unserved food to food kitchens, shelters, or other community program.
Offer food scraps for community gardens to compost, for chicken or pig feed to local residents or farmers, or other.
Electives Standards |  | Y/N | Comments
Menu disclosures. Please check all that apply:
- Where local food is coming from
- Composting initiative
- Other environmental initiatives
- Recycling logo and post-consumer content % of paper
- Environmental policy/mission statement

## Marinas
Marinas
Requirements |  | Y/N | Comments
Boat Handling & Storing
Sell and encourage use of absorbent padies to remove oil from bilge water.
Promote shrink wrap recycling and/or encourage use of reusabel boat covers.
Encourage boat owners to fill fuel tanks no more than 85% of capacity prior to winterization.
Collect and filter washwater or otherwise prevent it from getting into surface water.
Boater Education
Post signs or otherwise make written directions available to customers detailing environmental best management practices (e.g., for fueling, sewage pumpouts, etc.)
Include environmental BMPs as standard language in boat storage agreement.
Engine Maintenance & Repair
Use secondary containmnet (e.g., berms, basins, etc.) for containers storing hazardous waste.
Restrict engine maintenance activities to designated work areas away from the water.
Have oil obsorbent materials readily available.
Provide an oil-absorbing pad to boaters who purchase oil and filter for changing oil.
Fueling Operations
Regularly inspect fuel transfer and storage equipment.
Supervise fueling by having trained employee present.
Remove holding clips from nozzles.
Use no-spill device to present fuel exiting tank vent during re-fueling.
Have accessible spill response equipment and train employees annually in emergency response procedures.
General Facility Maintenance Practices
Position downspouts to drain into vegetated areas.
Install and maintain a pumpout system in good working order for the safe removal of boat wastes.
Painting
Conduct (either by marina or customers) sanding and scraping on an impervious surface (e.g., concrete or plastic tarps) away from the water and collect residue for proper disposal.
Use HVLP (high volume, low pressure) spray guns.
Conduct paint spraying in a protective enclosure.
Use and recommend to customers a low-toxicity hull pain formulated to last several years.

## Green Grocer
Grocers
Requirements |  | Y/N | Comments
Waste Reduction
Reusable bag incentives for customers (descrive in comments)
Elective Standards - You must implement (or have implemented) at least three (3) elective standards. The list below is intended as possible options for these standards. You may propose others that are unique to your business. The Program Coordinators will need to approve proposed standards. |  | Y/N | Comments
Refrigeration
Recommission or retrocommission refrigeration units every two years.
Retrofitted with Electronically Commutated Motors (ECMs) for fans. Year installed:
Installed energy efficient compressors such as discus or scroll. Year installed:
Installed pressure controls, such as floating head and liquid pressure amplifiers. Year installed:
Installed variable speed/frequency drives on refrigeration motors.
Installed strip curtains on walk-in units.
Installed energy efficient lighting in walk-in or reach-in coolers (e.g., fluorescent, cold cathode, or LED).
Local Food Sourcing & Food Recovery
Use significant local sourcing of food through the Vermont Fresh Network, from local farmers, and/or from a supplier who can document sources. Describe:
Sell mishapen or ugly vegetables and fruit.
Offer food scraps for community gardens to compost, for chicken or pig feed to local residents or farmers, or other.
Other
Working towards zero waste goals. (Please describe strategies being implemented.)
Participate annually in a community environmental project.
Communicate environmental initiatives with customers:
- Where local food is coming from
- Composting initiative
- Other environmental initiatives
- Recycling logo and post-consumer content % of paper used
- Environmental policy/mission statement
Maintain a community garden for employees.
Communicate environmental and energy management strategies with staff.

## Hotel
Hotels
Requirements |  | Y/N | Comments
Waste Diversion
All guest rooms have recycling bins
Energy Conservation
Keep guest room temperatures set low when not occupied.
Water Conservation
Install low-flow shower heads in all guest rooms.
Install low-flow aerators or faucets (< 1.5 gpm) on all non-pot filling kitchen faucets and on all hand wash sinks in guest rooms and common areas.
Install high efficiency pre-rinse spray valve(s) (≤1.28 gpm) at kitchen washing and pot-filling sinks.
Implement a towel and linen reuse program