Drinking Water and Groundwater Protection Division

# SOURCE TESTING REVIEW APPLICATION

This form starts the review and approval process for required studies and testing to be conducted on source(s) to serve Proposed or Existing Public Community, Public Non-Community Water Supplies (NTNC, TNC), Domestic Bottled/Bulk Water Supplies, and for Groundwater Withdrawal Permits.  The constant discharge test and/or required studies may commence following Division approval of a complete Application submittal.  Please return this completed application via Windows Explorer at ftp://ftp.anr.state.vt.us/Public%20Water%20Supply/  or to the address at the bottom of the last page.

Division use only: Project ID #________________________________ Associated WSID #___________

(For Division use only)

Code                Date

| 1. Town: |  |  |
| --- | --- | --- |
| 2. Project Name: |  |  |
| 3. Source ID letter(s) Source number(s) |  |  |
| 4. Source GPS Location: |  |  |
| 5. Well Completion Report #: (attach the report). |  |  |
| 6. Well Driller’s Yield gpm. Project max day demand gpm. |  |  |
| 7. Project peak instantaneous demand gpm. Peak instantaneous source flow rate gpm. |  |  |
| 8. Source construction plans and specifications. (Attach) |  |  |
| 9. For Wells: Constant discharge test rate gpm, monitor radius ft, Test duration hrs. (See Completion Instructions, table, 10.i). For Springs: Proposed high and low flow analysis (attach description). For Surface Water: Safe yield analysis (attach description). |  |  |
| 10. Interference Assessment: Locate and identify the following on a USGS 7.5 minute topo map, orthophoto or larger scale map: (the interference assessment for Springs or Surface Water sources needs to include documentation of all other withdrawals as part of the low flow analysis). |
| All water supplies and appropriate monitor wells within the specified area (see Instructions). |  |  |
| Please attach the following: |
| ii. owner’s name, mailing address, phone # |  |  |
| iii. source depth, yield, pump setting, well log # |  |  |
| iv. demand (e.g., # of bedrooms) |  |  |
| 11. Proposed scope of required studies (as needed) |  |  |

See reverse side for Important NOTES.

NOTE 1:	For Groundwater Withdrawal Permit source testing the applicant shall comply with all the specific testing and monitoring requirements of the Groundwater Withdrawal Reporting and Permitting Rule, Chapter 24 that may be appropriate if not identified here.

NOTE 2:  If permission to monitor a source is denied, the Division requires the potential interference impact to be estimated using design criteria and the best available information.

NOTE 3:  Yield Analyses per Water Supply Rule regulations: For wells, constant rate discharge test.  For springs, low flows analysis (and high flow for SPA delineation).  For surface water safe yield without raw water impoundment, 1Q20 analysis; or with raw water impoundment, 20-50 year drought condition using a mass diagram.  Minimum stream flow requirements may need to be evaluated for any proposed source.

NOTE 4:  Any proposed, or change, to a Public Community, Bottled/Bulk Water, and Non-Transient Non-Community Water Supply Source Protection area requires public notice prior to obtaining a Source Permit.  The applicant shall identify and submit a list of all landowners within the proposed source protection area and their mailing address. The Division shall provide an opportunity for written public comment and a public meeting.

NOTE 5:  The applicant shall identify agricultural lands, as defined in Title 10, Section 1671, within the delineated source protection area(s).  The applicant may need to sign a Certification of Water Source Likely Affected by Agricultural Lands form (form is on the website).

NOTE 6:	Bottled or Bulk water sources, in addition to complying with the Water Supply Rule, Chapter 21, shall also comply with the requirements of the Groundwater Withdrawal Reporting and Permitting Rule, Chapter 24.

EPA Surface Water Treatment Rule: The Division is responsible for determining which public water sources are under the direct influence of surface water.  It is the applicant’s responsibility to provide the Division with the information necessary to make this determination as set forth in the Water Supply Division Guidance Document, “Groundwater Under the Direct Influence of Surface Water.”

NOTE 7:   A new well may not be subject to microscopic particulate analysis testing if the following criteria are met: 1) Well located over 150 feet from the surface water source; and 2) well has greater than 50 feet of sealed casing; or 3) the well casing penetrates an areally extensive confining bed.

__________________________________________________________________________________

Division Codes:		 C = completed				 NR = not required

IR = information required		TBD = to be determined

SOURCE TESTING REVIEW APPLICATION

Completion Instructions

Applicant shall provide the following information:

1.	Town in which project is located.

2.	Name of project (please notify the Drinking Water and Groundwater Protection Division (Division) if project name changes).

3.	Source ID letter(s) from Source Application Form or Wastewater System and Potable Water Supply application and a unique source number; in sequence with existing sources, if any.

4.	Include the actual GPS location of the source following construction.  If more than one source is being evaluated include this information on an attachment.

5.	Submit the ANR Well Completion Report.

6.	Driller’s yield from Well Completion Report and project demand in gpm from basis of design.

- Project peak instantaneous demand and the peak instantaneous yield of the water source.

- Source construction plans and specifications including materials and dimensions.  For Springs and Dug wells include a sediment profile.

- For wells: determine the proposed constant discharge test rate, interference monitoring radius and test duration from table below (10.i below).

For Springs:  Describe the proposed high and low flow safe yield analysis (attach description).

For Surface Water: Describe the safe yield analysis (attach description).

10.	Interference Assessment, for constant discharge test only:

i.	Specified radius, from table below, within which all water supplies and appropriate monitor wells shall be monitored, unless using the Area of Influence is required..

For PCWS, Bottled/Bulk Water Sources, and for Groundwater Withdrawal Permits

| Discharge Test Rate (gpm) | Monitor Radius (feet) unless using the Area of Influence is required | Test Duration (hours) |
| --- | --- | --- |
| 0 – 19.9 | 1000 feet | 72 hours |
| 20 – 49.9 | 2000 feet | 72 hours |
| 50 – 99.9 | 2500 feet | 96 hours |
| 100 – 199.9 | 3000 feet | 120 hours |
| 200 + | 3000 feet | 168 hours |

For NTNC and TNC Water Sources

| Discharge Test Rate (gpm) | Monitor Radius (feet) | Test Duration (hours) |
| --- | --- | --- |
| 0.0 – 1.9 | 200 | 24 |
| 2.0 – 4.9 | 500 | 36 |
| 5.0 – 19.9 | 1000 | 5.0 – 7.9 gpm 48* hr 8.0 – 49.9 gpm 72 hr |
| 20.0 – 49.9 | 2000 | 72 |
| 50.0 – 99.9 | 2500 | 96 |
| 100.0+ | 3000 | 120 |

* May be increased to 72 hr. if interference or special studies are required.

Please attach the following for all sources located within the specified radius above:

ii. Owner’s name, mailing address, phone.

iii. Source type, source depth, yield, pump setting, well log.

iv. Demand (e.g., # of bedrooms) see Table 1 in Water Supply Rule.

11.		Proposed scope of required studies as determined by the Division.  Scope to include, but not limited to:

i. type of study.

ii. Locations and construction of proposed monitoring wells.

iii. Data collection procedures.

iv. proposed methods of analysis, including references.

See reverse side for Source Evaluation Report submittal requirements.  >>>

Submittal of Source Evaluation Report

The Report shall contain all of the information below, organized in the following manner, unless exempted by the Division:

- Site: Documentation of ownership or control of the source location, and source isolation zone if one is required.  Include the deed’s town, book and page numbers.

- Water Quality: 1. Attach results of all required water quality testing.  Initial source testing water samples are to be collected immediately following the end of the Constant Rate Discharge Test, or immediately following the Peak Instantaneous Flow Test.  If yield testing is not required, then the source is to be flushed and purged (run to waste) for several hours or for 2-3 well volumes prior to taking the water quality samples.  The source sample shall NOT contain a disinfectant;

- When initial source water quality sampling is performed the following information is to be included on the testing laboratory’s report and chain of custody forms:

i.    Water System ID #:  This is the WSID # (i.e. WSID 5001, WSID 20345).

- Facility ID #:  This is the well/spring/intake number assigned by the Division (i.e. WL001, IN001).

- Sample Point #:  This is the Raw Water sample point number assigned by the Division (i.e. RW001).

- Sample Type: Write “Special”.

- Description:  Write “Raw Water, Initial, Source Water Permitting for (insert Project Identification # here)”.  (This is the PID # assigned by the Division (i.e. S-2878-13.0)).

- For Microscopic Particulate Analysis (MPA) testing, the laboratory sampling protocols shall be followed.

- Source Yield:  For wells submit analysis for determination of safe yield that satisfies the project demands, submit constant rate, step test, and other pumping test data;

For springs submit high and low flow analysis;

For surface water withdrawals submit safe yield analysis.

- Source Construction:  Submit as-built engineering plans for Source Construction (Well Completion Report, spring box/tile details, or surface water intake structure).

- Interference Analysis:  1.   Analysis and determination of interference effects on existing sources or uses of water.  If undue adverse interference is present or calculated, describe the method of resolution.  Show interference monitoring data and all calculations;

- Analysis and determination of no undue adverse effect on wetlands under the Vermont wetland rules or on other water resources hydrologically interconnected with the source of withdrawal;

- Submit completed Production Well and Observation Well ID Sheets.  These can be found at: http://www.drinkingwater.vt.gov/pcwsapps.htm

- Surface waters: An evaluation and determination of undue adverse impacts to any surface waters (i.e. streams, brooks, rivers, ponds, reservoirs, lakes) in the area of influence.

- Source Protection Area (SPA): 1. For Public Community (PCWS) and Non-Transient, Non-Community (NTNC) water systems submit an analysis and map of the Source Protection Area (SPA) and the Zones within it.

- List of land owners within the SPA and their associated contact information; Submit a tax map if available.

3.   Electronic submittal procedure for Source Protection Areas following the Division’s approval:

The format to be used for all submittals of new or changed Source Protection Areas and is to be included along with the Source Evaluation Final Report.  Please visit http://www.drinkingwater.vt.gov/pcwspermits.htm  Look under the heading ‘Electronic Submittal Procedure for Source Protection Areas (SPAs)’ to find the electronic format template;

4.	For multiple water sources – each water source is to have a specific SPA associated with it.

H.  Agricultural lands: If agricultural land is identified that may likely affect the quality or quantity of the public water source, please fill out the Certification of Water Source Likely Affected by Agricultural Lands Form:  Include the completed form in the final Source Evaluation Report.  Please visit http://drinkingwater.vt.gov/pws/pdf/aglandcertform.pdf#zoom=100  to find the certification form.

I.  Special Studies: Analysis and conclusions for any additional studies as required, showing rationale for assumptions and calculations.

J.  Source Protection Plan (SPP):  At the Applicant’s discretion, to expedite the issuance of the Source Permit, the SPP may be submitted at a date following issuance of the Permit (to be included as a Permit Condition) and shall conform to the requirements of Subchapter 21-16 of the VT Water Supply Rule.

k.	Include in the Report any additional information that is required by the Groundwater Withdrawal Reporting and Permitting Rule, Chapter 24 as appropriate.

# Text boxes

APPLICATION

This fact sheet/form/application and related environmental information are available electronically via the internet. For information visit us directly through the Drinking Water and Groundwater Protection Division homepage at http://www.drinkingwater.vt.gov/

Drinking Water and Groundwater Protection Division

1 National Life Drive, Main 2

Montpelier, Vermont 05620-3521

Phone number 802-828-1535

Fax 1-802-828-1541