|  |  |
| --- | --- |
| **Project Name:**  | **Discharge Point:**  |
| **Overbank Flood Protection Standard Waiver Worksheet** |
| Fill out this worksheet for each discharge point in which use of this waiver is sought. |
|  |
| **Overbank Flood Protection Standard (QP10) Waiver** (*check only one*)**:** |
| **[ ]**  | 1. The pre-routed, post-development discharge for the 10-year, 24-hour storm is less than 2 cubic feet per second.  |
| Enter the total pre-routed post-development stormwater discharge rate (cfs): |  |
| *Guidance: “Pre-routed post development discharge” means the runoff after development, including post-development conveyance, but without STPs. When examining whether or not the site qualifies for this waiver, off-site runoff does not need to be considered, however the overall common plan of development shall be considered. Please attach the runoff calculations/hydrologic modeling for the pre-routed, post-development during the 10-year, 24-hour storm event.* |
|  |
| **[ ]**  | 2. A site that has a direct discharge to waters with a drainage area equal to or greater than or equal to 10 square miles. |
| Name of Waters at Discharge Point: |  |
| Drainage Area of Waters at Discharge Point (square miles): |  |
|

|  |
| --- |
|  |
| **[ ]**  | 3. A downstream analysis was completed, pursuant to Section 2.5 of the 2017 VSMM, that indicated extreme flood control is not necessary for the site. |
| Has adequate conveyance from the site to the discharge point been verified? | **[ ]  Yes [ ]  No** |
| Has supporting information (e.g. narrative description, calculations, modeling) for the completed downstream analysis been included with the application? | **[ ]  Yes [ ]  No** |
|  |

 |
|  |
| *For a project that has more than one discharge point and that discharges to different receiving waters, waiver eligibility shall be determined on a “per receiving water” basis. Receiving waters are considered separate if the drainage area at their downstream point of confluence is greater than 10 square miles.* *For example, if discharge point S/N 001 discharges directly to the Winooski River (drainage area of greater than 10 square miles), but discharge point S/N 002 discharges directly to a small tributary of the Winooski River, then S/N 001 could be waived from the Overbank Flood Protection Standard using Waiver 2, but S/N 002 could not. However S/N 002 may still be eligible for Waivers 1 or 3.* |