## WR43-TN
|  | Agency of Natural Resources |  |  | Permittee:
|  | Department of Environmental Conservation |  |  | NPDES Permit No.
|  | Watershed Management Division |  |  | Preparer/Contact:
|  | One National Life Drive, Davis Building, 3rd Floor |  |  | Telephone:
|  | Montpelier, VT 05620-3522 |  |  | Email:
Month/Year:
THIS FORM IS TO BE SUBMITTED EACH MONTH ALONG WITH THE eDMR FORM.
TN shall be reported as total daily pounds calculated as:
TN (lbs) = monthly average TN (mg/L) x total daily flow (MG) x 8.34 (lbs/gallon)
where TN (mg/L) = TKN (mg/L) + NOx (mg/L)
where NOx (mg/L) = NO2- (mg/L) + NO3- (mg/L)
Table 1. Current Month Influent Monitoring Results
| A | B | C | D | E
| Date of Sample | TKN (mg/L) (measured) | Nitrite (NO2-) (mg/L) (measured) | Nitrate (NO3-) (mg/L) (measured) | TN (mg/L) (=B+C+D)
0
0
0
0
0
| Maximum | 0 | 0 | 0 | 0
Table 2. Current Month Effluent Monitoring Results
| A | B | C | D | E | F | G
| Date of Sample | TKN (mg/l) (measured) | Nitrite (NO2-) (mg/L) (measured) | Nitrate (NO3-) (mg/L) (measured) | TN (mg/L) (=B+C+D) | Volume discharged on date of sample (MG) (measured) | TN (lbs/day) (=D x E x 8.34)
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
| Maximum | 0 |  | 0 | 0 |  | 0
| Average |  |  | #DIV/0! |  | #DIV/0!
WR-43-TNa form 2/4/2020 modified 1/3/2024
|  | Agency of Natural Resources |  |  | Permittee:
|  | Department of Environmental Conservation |  |  | NPDES Permit No.
|  | Watershed Management Division |  |  | Preparer/Contact:
|  | One National Life Drive, Davis Building, 3rd Floor |  |  | Telephone:
|  | Montpelier, VT 05620-3522 |  |  | Email:
Year:
THIS TABLE IS TO BE SUBMITTED ANNUALLY BY JANUARY 15 ALONG WITH THE DECEMBER eDMR FORM.
Table 3. Current Year Annual Average Effluent TN (lbs/day).
Calculate the annual average TN by adding the calculated TN (lbs/day) values collected during the calendar year and dividing by the number of times sampled.
| A | B |  | A | B
| Date of Sample | (lbs/day) |  | Date of Sample | (lbs/day)
| Current Calendar Year Annual Average Effluent TN (lbs/day): |  |  |  | #DIV/0!
Previous Calendar Year Annual Average Effluent TN (lbs/day):
Summary of nitrogen removal optimization efforts and efficiencies achieved over the current calendar year:
WR-43-TNb form 2/4/2020 modified 1/3/2024
Note on C17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the date a sample was collected.
Note on D17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for TKN in mg/L
Note on E17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for Nitrite in mg/L.
Note on F17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for Nitrate in mg/L.
Note on C28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the date a sample was collected.
Note on D28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for TKN in mg/L
Note on E28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for Nitrite in mg/L.
Note on F28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the value for Nitrate in mg/L.
Note on H28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the effluent flow for the date in MG (Million Gallons)
Note on C51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the date each sample was collected.
Note on D51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the total pounds of Nitrogen discharged on the date in the adjacent column.
Note on F51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the date each sample was collected.
Note on G51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the total pounds of Nitrogen discharge on the date in the adjacent column.
Note on G81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter the Annual Average Effluent Total Nitrogen Load (lbs per day) from the previous year.
Note on C84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Enter a description of anything done in the last year to improve nitrogen removal. This can include WWTF upgrades, changes in chemicals used, changes in WWTF operations, etc. Attach another sheet if needed.

## Worksheet Password
If you need to modify this workbook the password is: | nitrogen
Please don't modify it unless you have a good reason and know what you are doing.