LaRosa Partnership Program

Guidelines for Laboratory Use and Sample Submission

The Watershed Management Division (WSMD) and the Vermont Agriculture and Environmental Laboratory (VAEL) are pleased to aid your citizen-based water quality monitoring project through the LaRosa Partnership Program (LPP). The following guidelines provide information for your use and access to VAEL housed on the Vermont Technical College (VTC) campus in Randolph Center, VT. We request that you review and adhere to these guidelines for laboratory use and sample submission. These guidelines are to be used in conjunction with other material provided including the VAEL Training Curriculum, but these documents are no substitute for the personal contact you’ll receive that’s provided by Rebecca, Danielle, and Karen from VAEL, and Jim and Kristen from VTDEC, as well as your individual Watershed Coordinators. These guidelines are intended to streamline your collection and delivery of samples and the VAEL’s processing of the tests.

The LPP is administered jointly by the VTDEC’s WSMD and VAEL.  The primary contacts are:

| VTDEC WSMD | VAEL |
| --- | --- |
| Jim Kellogg, Biologist LPP Coordinator 802-490-6146 jim.kellogg@vermont.gov | Rebecca Harvey, QA Officer, 802-585-6073 Rebecca.harvey@vermont.gov |
| Kristen Switzer, ECO AmeriCorps Member LPP Assistant Coordinator 802-461-8243 Kristen.switzer@partner.vermont.gov | Karen Brack, Sample Receiving Chemistry karen.brack@vermont.gov |
|  | Danielle Gregoire, Sample Receiving Biology, danielle.gregoire@vermont.gov |

# Use of Laboratory

Your projects have been approved to submit samples to the laboratory as described in your 2019 LaRosa Partnership Program QAPPs.  Samples are accepted from 8:00 am to 4:00 pm, Monday through Friday.  Projects that submit E. coli or turbidity tests cannot deliver samples on Fridays due to the short holding/processing times. Please note: the laboratory will not be open during the following holidays: Memorial Day (Monday 5/27); Independence Day (Thursday 7/4); Bennington Battle Day (Friday 8/16); Labor Day (Monday 9/2); Veteran’s Day (Monday 11/11) and Thanksgiving (Thurs. 11/28 and Friday 11/29). Holidays will affect process times so no deliveries for these tests should be planned for the day prior to the holiday as they cannot be analyzed.

The LPP partners will bring their coolers and samples to 163 Admin Drive, Randolph Center, VT 05061 and meet with Karen or Danielle before leaving. They will be stationed there to accept and facilitate sample transfer. Please make sure that all coolers are identified with your project name. New bottles, coolers and distilled water can be picked up assuming a prelog was prepared at least one week prior to arrival.

# Project Identification Code (PIC) – 137 and Activity Code (AC)

As in prior years, each participating program and project will have a unique PIC and AC Code.  The following list provides the 2019 AC Codes for each partner. The LPP’s PIC has been assigned by VAEL and only VAEL is authorized to change it. VTDEC assigns the AC and only VTDEC is authorized to change it. These numbers will be used on your prelog form and will always be associated with your project. All samples will be tracked by this number, so please include (ex. 137-13) in all VAEL correspondence. VAEL will also be providing numbers specifically for sample tracking.

| Activity Code | Project Name | Project Contact(s) |
| --- | --- | --- |
| 01 | Addison County WQ Monitoring Project (ACRWC) | Matt Whitten/Kristen Underwood |
| 06 | So. Chittenden WQ Monitoring Project (SCRW) | Kate Kelly |
| 07 | Poultney-Mettowee WQ Monitoring Project (PMNRCD) | Hilary Solomon |
| 09 | Southeastern VT Stream Monitoring Project (SeVWA) | Ryan O’Donnell |
| 13 | Rutland City and Town Stream Monitoring Project (UOCNRCD) | Nanci McGuire |
| 17 | Missisquoi River Basin WQ Monitoring Project (MRBA) | Lindsey Wight |
| 22 | Mad River and Selected Tributaries Monitoring Project (FMR) | Corrie Miller |
| 25 | White River and Selected Tributaries Monitoring Project (WRP) | Dan Ruddell/Mary Russ |
| 28 | Allen Brook WQ Monitoring Project (Town Planning Office and Conservation Commission) | Melinda Scott |
| 29 | Winooski Headwaters Monitoring Project (FWR) | Shawn White |
| 31 | Lake Carmi Tributary Monitoring Project (FWC, LCA) | Peter Benevento Emily Porter-Goff |
| 33 | Lake Memphremagog Basin Stream WQ Monitoring Project (OCNRCD, LMA) | Sarah Damsell |
| 38 | Ottauquechee River Monitoring Project (ORG) | Todd Menees |
| 40 | Winooski 4 River Monitoring Project (FWR) | Shawn White |
| 45 | Lake Iroquois Tributary Monitoring Project (LIA) | Shannon Kelly |
| 49 | ReThink Runoff Urban Stream Monitoring Project (RRST alias CCST) | Kristen Balschunat |
| 50 | Black River and Selected Tributaries WQ Monitoring Project (BRAT) | Kelly Stettner |
| 55 | Samplepalooza – Connecticut River Monitoring Project (CRC alias CRWC) | Ryan O’Donnell |
| 61 | Deerfield River Watershed Association (DRWA/CRC) | Ryan O’Donnell |
| 63 | Hungerford Brook Watershed Monitoring Project (FCNRCD) | Brodie Haenke |
| 66 | Lake Morey Tributary Monitoring Program (LMA) | Gregor Allen |
| 67 | Ottauquechee NRCD – Mill Brook | Sue Greenall |
| 68 | Deer Brook Monitoring Program | Eliza Lemieux |

# Scheduling your sample submissions

The LPP requires all sampling events to be pre-scheduled, unless specifically discussed in advance with the LPP Coordinator. This does not preclude your opportunity to collect and deliver samples where a suspicious discharge is observed and the need for immediate sampling is desirable. A few projects are submitting samples following a flexible schedule such as high flow sampling. Generally, projects will be submitting samples on a specified day of the week as presented in your proposal and approved by the LPP Coordinator after discussions with VAEL Director and other staff. Bottles must be ordered at least two weeks in advance of pick-up using the new and updated Bottle Request Form. The complete instructions can be found here.

# Bottle and deionized water orders

The VAEL can typically distribute bottles for up to two sampling runs at a time.  Please use the Bottle Request Form and email to Karen Brack and Danielle Gregoire to assemble your bottle order. This form must be received at least two weeks in advance.  The following table describes the bottles used by VAEL and each parameters holding times:

| Test | Bottle Type | Hold Time |
| --- | --- | --- |
| Biological Oxygen Demand (BOD) | 2-liter polyethylene | 48 hrs |
| E. coli | 125 ml polycarbonate round, sealed | 6 hrs |
| Total Phosphorus (TP)/Dissolved Phosphorus (DP) | Glass white-capped test tubes | 28 days |
| Total Nitrogen (TN) | Blue-topped 50ml "centrifuge" test tube | 28 days |
| NO2 - NO3 (“NOx”) Nitrogen | Blue-topped 50ml "centrifuge" test tube | 28 days |
| Turbidity | 250 ml square polyethylene bottle | 48 hrs |
| Total Suspended Sediments (TSS) | 1-liter round polyethylene bottle | 7 days |
| Metals | 250 ml polyethylene bottle | 6 months |
| Chloride (Cl) | Purple-topped 50ml "centrifuge" test tube | 28 days |
| Deionized water for blank samples | Either 2-liter polyethylene bottles or 1-liter round polyethylene bottles with DI water | 28 days |

# The TN/NOX and metals samples require laboratory acidification with H2SO4 OR HNO3. The Cl, DP require field or laboratory filtration through 0.45 micron (µ) filters.

# Particularities for certain samples

Metals and most nitrogen samples require preservation with strong acids.

For projects sampling total nitrogen (TN) and Nitrate – Nitrate NOX, these samples must be preserved using sulfuric acid.  For safety reasons, this is done after samples arrive at VAEL, by program staff. These samples must be acidified within 48 hours of collection, and therefore, the samples must arrive to VAEL within this time period.

For projects sampling for metals, these samples must also be preserved using nitric acid.  For safety reasons, this is done after samples arrive at VAEL, by program staff.  Metal samples must be acidified within 48 hours of collection, and therefore, the samples must arrive to VAEL within this time period.

For projects sampling for chloride (Cl), and/or dissolved phosphorus (DP) these samples must be filtered using 0.45µ filter membranes. Please plan to discuss any filtration of Cl and DP with LPP and VAEL staff. It is preferable that this procedure be done in the field as the laboratory does provide this service.

# Sample delivery to the laboratory

The following checklist is provided to ensure that all samples are properly entered into the system.

- Deliver samples and all paper work in coolers in Ziploc™ plastic bags to 163 Admin Drive, Randolph Center, VT 05061. VAEL will be fully staffed beginning in early April  to facilitate sample receiving including the review of paperwork, sorting of samples, and login. Karen and Danielle will be your primary contacts.

- Prior to arrival at VAEL, cross-reference the samples in your cooler against the sample submission sheet.

- If samples are missing, please note this on the submission sheet.  If there are any issues at all (loose cap, loss of sample, questionable sample, etc.)

- Make sure the correct times are written on each line of the Laboratory Sample Login Record.

- We request that you align all samples in order of ascending laboratory ID number.  These numbers are found in bold at the bottom of the sample bottle label.

- Retrieve your coolers from prior sampling rounds.

- Pick up any sample bottle orders and fresh deionized (DI) water from VAEL. Old DI may result in abnormally high TP Blank values It is imperative that the partners give two weeks’ notice for bottle request and sample prelog.

# Accessing your data results

Please be aware that there is a four-week turnaround for all samples processed at VAEL.  This turnaround time applies to all laboratory users.  As such, it is commonly six to eight weeks before an appreciable volume of data is available for review.

However, as a convenience, only LPP partners are provided an online service maintained by VTDEC.  Included in this are pre-validation results for E. coli tests to facilitate swimming hole postings for groups that do this.

See https://anrweb.vt.gov/DEC/_DEC/VolunteerMonitoring.aspx

Typically, the preliminary results for E.coli tests are posted two to three days after collection. As pre-validated results, they have not been screened by either your own projects screening or the LPP’s internal QC process. While this data is accessible, VTDEC does not recommend it be shared widely or used in written publications until it can go through the LPP Review Process prior to saving in the VTDEC WQX and US EPA STORET databases. It can be used for the weekly posting, but values are subject to deletion or change.

# Annual Reporting and Data Submissions

Each group participating in LPP 2019 are required to report on their water quality monitoring projects in two ways.

1) The final written reports will be submitted to the LPP Coordinator for all funded LaRosa Analytical and Organizational Support Grant (LASG/LOSG) projects. Partners are expected to make use of the water quality reporting templates available on the LaRosa page of the DEC website. These templates are intended to standardize reporting conventions across the program and assist in the comparability of results. Partners should use whichever of the five reporting templates best suits the specific goals and purposes of their project. Only one report each year is required, but it may be necessary to use guidance from multiple templates. Contact Jim Kellogg (jim.kellogg@vermont.gov) or Kristen Underwood (southmountain@gmavt.net) with questions regarding the templates. Project Coordinators are expected to deliver at least one community presentation each year of their projects highlights and results. Reports and results are to be made publicly available in any form the watershed group or municipality wishes, but not be disseminated until they have been internally reviewed by both the individual projects and LPP program coordinator for accuracy. If a partner receives a LOSG, they must  highlight the remediation projects “scenario or vignette of success”. This can be demonstrated in several ways from direct community involvement and additional grass roots action taken to improve water quality at the site to a defined load reduction in nutrients.

The full set of data, including flow, temperature, pH, or any other additional parameters not processed by the VAEL will be included as an appendix to the final report. For those with ongoing project (i.e. year to year), a new year of sampling cannot begin until the prior year’s report has been written with recommendation for the following year. These reports will be posted on the WSMD’s LPP website allowing additional opportunities for public outreach at: http://dec.vermont.gov/watershed/map/monitor/larosa

2) Electronic data resubmission.   All project data must be resubmitted to Jim Kellogg after it has been reviewed for quality assurance.  Specifically, each group will be reporting via the web-based application into which your “screened” project data needs to be placed.  This was designed to permit VTDEC to readily add LPP data our internal QC Tool Box for review and eventual data archive into WQX and the National WQ Data Base “STORET”.  The qualitative flow information along with approved and ambient generated temperatures, pH, turbidity, conductivity and contract and watershed groups own E.coli values can now be stored in WQX. This will happen in 2019!!!!