GUIDANCE SHEET

Drinking Water and Groundwater Protection Division

Instructions for Non-Acute Total Coliform Public Notice - Boil Water Required

Exceeding the total coliform bacteria maximum contaminant level is a Tier 1 violation.  Because total coliform was present in at least three samples within 30 days, you must inform your customers to boil their water until the situation is resolved.  You must provide public notice to persons served within 24 hours after you learn of the violation.  Within 24 hours, you must also contact the Division.  You should also coordinate with your local health officer.  The public notice must be reissued every 3 months for as long as the situation exists.  Use one or more of the following methods to deliver the notice to consumers:

	Radio

	Television

	Hand or direct delivery

	Posting in conspicuous locations (Community Water Systems may use posting as a secondary method, but must also use radio, television, or hand or direct delivery)

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), because notice must be provided in a manner expected to reach all persons served.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory.  If you post or hand deliver, print your notice on letterhead, if you have it.

Description of the Violation

State the number of samples testing positive for coliform. The standard is that no more than one sample per month may be positive.

Corrective Action

In your notice, describe corrective actions you are taking. If you know what is causing the coliform problem, explain this in the notice. Listed below are some steps commonly taken by water systems with total coliform violations. Use one or more of the following actions, if appropriate, or develop your own:

	We are chlorinating and flushing the water system.

	We are increasing sampling for coliform bacteria.

	We are investigating the source of contamination.

	We are repairing the wellhead seal.

	We are repairing the storage tank.

	We will inform you when additional samples show no coliform bacteria.

After Issuing the Notice

Send a copy of each type of notice with the Certification section complete to the Division within ten days from the time you issue the notice.  The certification states that you have met all the public notice requirements.

It is a good idea to inform your customers when the violation is resolved.

This guidance sheet and related environmental information are available electronically via the internet. For information visit us through the Vermont Homepage at http://www.vermont.gov or visit directly at www.drinkingwater.vt.gov

Drinking Water and Groundwater Protection Division

1 National Life Drive, Main Building, 2nd Floor

Montpelier, VT  05620-3521

Toll free 1-800-823-6500

Out of State 1-802-241-3400

Fax 1-802-828-1541

DRINKING WATER WARNING

[Enter Water System Name] [(Enter WSID Number Here)]

water is Contaminated with Total Coliform

BOIL YOUR WATER BEFORE USING

Total coliform bacteria were found in the water supply on [ENTER dates].  Total coliform bacteria are generally not harmful themselves, but indicate that other bacteria that can make you sick may be present in the water. These bacteria are a particular concern for people with weakened immune systems.

We routinely monitor for the presence of drinking water contaminants. We took [ENTER NUMBER] samples for coliform bacteria during [ENTER MONTH].  [Number/percentage] of those samples showed the presence of coliform bacteria. The standard is that no more than [ENTER “1 sample per month” or “5 percent of our samples”] may do so.

What should I do?

DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

Coliforms are bacteria which are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.

People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA’s Safe Drinking Water Hotline at 1 (800) 426-4791.

What happened? What is being done?

Bacterial contamination can occur when increased run-off enters the drinking water source (for example, following heavy rains). It can also happen due to a break in the distribution system (pipes) or a failure in the water treatment process.

[Describe corrective action]. We will inform you when tests show no bacteria and you no longer need to boil your water. We anticipate resolving the problem within [ENTER estimated time frame].

For more information, please contact [ENTER name of contact] at [ENTER phone number] or [ENTER mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

Certification

Method(s) of Distribution:____________________________________________  Date Distributed:___________

(e.g. hand or direct delivery, posting¹, television, radio)

I _____________________(print name) Certify, as the Responsible Person (or authorized representative) of the water system indicated above, that the public notice has been provided to customers in accordance with the delivery, content, and format requirements and deadlines in the Vermont Water Supply Rule (Chapter 21, Subchapter 21-10).

Signature: __________________________		Date: _____________

Within 10 days of issuance of public notice, send a copy of the notice to:

Drinking Water and Groundwater Protection Division, One National Life Drive – Main 2, Montpelier, VT 05620-3521

1 - Community Water Systems may use posting as a second method, but must also use radio, television, or hand or direct delivery.