## MCM Reporting
Minimum Control Measure Reporting
GP Part 6.2 | MCM Requirements | Measurable Goal | Description of how requirement was met | List attachments if applicable | Activities planned for next year | Proposed change in BMP or measurable goal?
MM#1: Public Education and Outreach on Stormwater Impacts
1.c. (1) | Website maintained with locally relevant stormwater information | Annual number of webpage visits. | Here is the link to Milton's Stormwater Management Program Webpage: https://www.miltonvt.gov/163/Stormwater-Management-Program. There were 196 visits to the Town of Milton Stormwater Page in 2023. | None | We will continue to update the webpage with new and pertinent information. | None
1.c (2) | Maintain a program to identify opportunties and provide technical assistance on Low Impact BMPs | Make links available to the public from non-profit and other government sources on website | Milton's Stormwater Management Program Webpage contains links to the Chittenden County Regional Planning Commission, the Agency of Natural Resources, the Enviornmental Protection Agency, and the Rethink Runoff webpage. These are all good resources for technical assistance for Milton residents, and others who may happen upon our webpage. In 2023, there were zero new drains adopted. | None | We will continue to update the webpage with new and pertinent websites as they are identified. | None
1.c (3) | Participate in a regional stormwater education strategy or develop an MS4 specific program | Participate in and provide financial support to Rethink Runoff. Report on annual number of site visits to www.rethinkrunoff.org. | The Town of Milton participates with other Chittenden County Towns to provide financial assistance for operation of the regionalal Rethink Runoff campaign. The annual participation dues for this effort is $7,000. The annual report from Rethink Runoff is attached to this annual report, and provides the annual number of site visits to the Rethink Runoff website, and other metrics concerning the public outreach efforts. | Annual Report from Rethink Runoff efforts. | We will continue to participate in this county wide effort of stormwater public education. | None
Other
MM#2: Public Involvement and Participation
2.d | Participate in a regional stormwater public involvement and participation strategy or develop an MS4 specific program | Participate and financially support the Rethink Runoff Stream Team; document the annual number of participants and/or persons contacted by outreach events and hands‐on activities through the Team. | The Town has participated in and provided financial support for the Rethink Runoff Stream Team effort through the CCRPC, and which is coordinated through the Winooski Natural Resources Conservation District. The annual report from the Rethink Runoff Stream Team is attached. Additionally, Milton is coordinating with the Stream Team to plan the construction of a rain garden that will engage community volunteers. In 2023, there were zero new drains adopted. | Annual Report from Rethink Runoff efforts. | We will collaborate with the Stream Team to recruit and engage volunteers with the construction and maintenance of the Municipal Rain Garden Project, as well as generally staying engaged with and financially supporting the program. | None
Other
MM#3: Illicit Discharge Detection and Elimination
3.a (1) | Develop and maintain a GIS or AutoCAD map of the storm sewers in the regulated MS4 showing all outfalls | Maintain map & inspect 33% of the infrastructure on an annual basis. Develop priority list of catch basins, culverts, and outfalls to repair. | The Town purchased an ArcGIS license and began using it to compile an infrastructure inventory. ArcGIS Online now hosts a database of town utilities, including all catch basins. Infrastructure inventory files previous stored as .kmz files on Google Earth are now able to be viewed and edited remotely on mobile apps by crews in field. The Town continues to clean out catch basins and jet culverts as needed. | None | We plan to put out a request for quotes for the cleaning of nearly 50 catch basins in town. We will continue to identify and clean as many catch basins as possible with our limited crew. | None
3.a (2) | Develop ordinace or policy prohibiting non-stormwater discharges and implement enforcement procedures | Illicit Discharge and Stormwater Connection Ordinance. Enforced by the Town Health officer. | Milton developed and passed an Illicit Discharge and Stormwater Connection Ordinance in February, 2007, including enforcement procedures. In 2023, there were no illicit discharges discovered by town personnel. | None | We continue to be vigilant in identifying illicit discharges. | None
3.a (3) | Develop and implement a plan to detect and address non-stormwater discharges | Update Illicit Discharge and Stormwater Ordinance. | Non-stormwater discharges are discussed with DPW personnel during meetings. If an employee sees anything during the course of their regular work which looks like it could be a suspect discharge or activity, they understand it is their responsibility to contact their supervisor, the DPW Director or Town Manager immediately. Ordinance will be reviewed and updated if necessary within the next two years. | None | Continue discussing illicit discharges with personnel. Review ordinance for possible changes. | None
3.a (4) | Inform public on the dangers of illegal discharges | Town will contact CSWD bi-annually to see when drop off days are scheduled and improve advertisement for haz-waste drop off. | DPW contacted the Chittenden Solid Waste District to identify hazardous waste drop off days. These days were advertised in the local newspaper. Milton does have a CSWD drop off station in Town. | None | Continue the same. | None
3.a (6) | Status of monitoring activities:
| Outfalls Inspected: | 33% of stormwater infrastructure to be inspected | In 2017, the town hired a consultant to do over 50 catch basin and outfall inspections. We are still working to correct these. Additionally, we clean catch basins and culverts as problems are identified by us or residents. The Town has a "Report a Concern" application on our website, where residents can let us no of problems we may not have seen. | None | Continue the same. | None
Number of dry-weather samples taken:
Feet of storwmater drainage pipe inspected:
| Discharges Detected: |  | No discharges detected or identified
| Discharges Corrected: |  | No discharges detected or identified
| Other | Annual municipal training | Town employees attend numerous trainings through Vermont Local Roads, and other sources. Typical training topics include road maintenance, winter operations including salt placement, stormwater (including ANR meetings and design of stormwater BMPs), OSHA 10 hour training, etc. | None | Continue the same. | None
MM#4: Construction Site Stormwater Runoff Control
4.a (1) | Develop and implement procedures to ensure that construction activities undertaken by the MS4 are properly permitted | Updating the DPW Specifications will ensure current stormwater regulations are being met. (1) Public Works Specification Section 600 Erosion Control Specifications (2) Town of Milton Public Works Specification‐Best Management Practices for Erosion and Sediment Control (3) Guidance manual of Best Management Practices for Erosion and Sediment Control and a Manual of Best Management Practices for Stormwater Control and Watercourse Buffers | The current DPW Specifications were last updated and approved by the Select Board on on December 15, 2010. In 2018, Milton contracted with a consultant to assist in revising the specs. The DPW Specifications are currently under review, being updated. Finalized likely to come after the Stormwater Utility is established. | None | Continue the same. | None
| Number of permitted MS4 construction projects: | No goal needed. | None. | None
4.a (2) | Review existing policies to determine effectiveness, consistency with state standards; Amend for consistency with state standards | Review existing Milton ordinances for earth disturbance/construction specifications. | DPW Specs for earth disturbance/consturction currently align with state standards. | None | Continue to review the DPW specs to ensure alignment with state standards. | None
4.a (3) | Develop and implement ordinance that regulates earth distrubance <1ac | Track number of projects reviewed. | 27 projects were reviewed by DRB & TAC(DPW) with varying disturbances, 20 projects reviewed by P&Z staff with <1 acre disturbance or for their sketch review | None | Continue the same. | None
| Number of projects with <1ac of disturbance subject to MS4 requirements: |  | 9 projects were reviewed by P&Z staff through Minor Site Plans; 17 single family dwelling zoning permits were reviewed by the Zoning Administrator, and 14 zoning permits (28 duplex units) were reviewed by the Zoning Administrator. | None |  | None
Other
MM#5: Post Construction Stormwater Management for New Development and Redevelopment
5.d | Review existing policies to determine effectiveness, consistency with state standards, opportuntities for LID, and opportunties for changes to street and parking requirements; Amend for consistency with state standards | Revising DPW Specification 1400 and planned completion by 2025. | The current DPW Specifications were last updated and approved by the Select Board on on December 15, 2010. In 2018, Milton contracted with a consultant to assist in revising the specs. The DPW Specifications are currently under review and updates will be made once the Stormwater Utility is operational. | None | Continue the same. | None
5.e | Develop and implement procedures to identify projects that disturb >1ac but do not require a state post-construction permit | Specifications are included in the site plan and subdivision permit process | In review of these projects, Homeowner Associations are required to have Operation & Maintenance Plans for their stormwaters systems out side the ROW. | None | Continue the same. | None
| Number of projects >1ac of disturbance <1ac of impervious: | Document number of projects of this size reviewed. | 2 projects reviewed (Horseshoe Circle infrastructure, which the overall project does have State Stormwater permit & Pete’s RV). | None | Continue the same. | None
5.f | Adopt an ordinance or policy that requires projects that disturb >1ac to utilize a combination of structural, non-structural, and low impact BMPs and ensure long-term maintenance | Revising DPW Specification 1400, and project reviews. | We are still in the process of revising the DPW specifications. Review of projects do take into account new stormwater regulations. | None | Continue the same. | None
5.g (1) | Develop and implement procedures for inspecting projects subject to the MS4's ordinance | Maintenance of stormwater systems outside of the public ROW will be required to have an Operation & Maintenance Agreement in the Homeowner Association Covenants. The town will track the number of covenants for HOAs reviewed and submit an update in the annual report. | No relevant projects were completed in Milton in 2023. | None | Continue the same. | None
| Number of STPs (without state permits) inspected by MS4: | Review of all submitted plans. | None of these inspections were completed in 2023. | None | Continue the same. | None
5.g (2) | Develop and implement procedures to ensure that development activities undertaken by the MS4 are properly permitted | Complete the update of DPW Specification 1400, and track all development and work undertaken by the Town of Milton | See 3.a (6) above. | None | Continue the same. | None
Other
MM#6: Pollution Prevention and Good Housekeeping for Municipal Operations
6.b (2) | Conduct stormwater training for staff | DPW employee annual stormwater training | Town employees attend numerous trainings through Vermont Local Roads and other sources. Typical training topics include road maintenance, winter operations including the use of salt and liquid deicers, stormwater (including ANR meetings and design of stormwater BMPs), OSHA 10 hour training, etc. | None | Continue the same | None
6.b (3) | Implement controls for reducing or eliminating the discharge of pollutants from the MS4 | (1) Town will review its Winter Operations Guidelines annually and train Town Highway Crew annually. (2) Summer annual inspections and trash removal during "Green-Up Day." (3) Inspect Oil and Water separator annually and visually inspect fueling & maintenance areas daily. | The DPW revised its Winter Operations Guidelines in the fall of 2022, prior to winter, and obtained Select Board approval. The oil/water separator at the highway garage was cleaned and inspected monthly. | None | Review the Winter Operation Guidelines for Improvements. | None
| STPs constructed, upgraded, & maintained |  | List in BMP tracking table
| STPs incorpoated into the MS4 |  | List in BMP tracking table
| Inspections performed on fleet vehicles, buildings, garages, parks, open spaces |  | All vehicles are inspected on a regular basis prior to being used in the field. Inspections of the highway garage and WWTF are performed by staff, and issues identified and corrected as necessary. Buildings & Grounds, and Parks & Recreation notify DPW if any stormwater issues are present neading to be repaired. None were noted. | None | Continue the same | None
| Catch basin cleaning |  | Complete 'Non Structural Tab'
| Street Sweeping |  | Complete 'Non Structural Tab'
| Leaf/organic waste removal program |  | Complete 'Non Structural Tab'
6.b (4) | Develop and implement procedures for proper disposal of wastes | (1) Town’s annual report will include information regarding the CSWD hazardous waste drop‐off days, and the biannual landfill reports required by the LCEO. (2) WWTF - Water Operators will meet annually to discuss the use of the BMPs during flushing activities, and improvements made if needed. | CSWD has a collection station in Milton for collecting household trash. Additionally, they do hazardous waste collections in Milton at least once per year. DPW contacted CSWD to ensure these collection efforts were going to continue, and the hazardous waste collection days were advertised in the local newspaper. During hydrant flushing of the water distribution system, water operators take care not to direct flow towards erodible areas, and also dechlorinate the water during flushing. | None | Based on past water quality monitoring results, DPW submitted a Landfill Post Closure Certification Application to ANR in 2020, seeking to reduce water quality monitoring to once per year, instead of twice per year. The last Landfill Water Quality Monitoring Report was completed in September 2023. | None
6.c | Prohibit use of phosphorus containing fertilizers on facility operations unless warranted by a soil test; submit copy of test | Any use of such fertilizer will be documented in the AR and include the location, quantity, and type of fertilizer used | The Town has reduced it's use of phosphorous containing fertilizers on town owned property. A minor amount of 20-0-12 fertilizer was used by Buildings & Grounds at the Municipal Complex, the "0" indicating no phosphorous. They plan on using the same fertilizer on our municipal playing fields in 2023. | None | Continue the same | None
6.d | Participate in the Agency's Municipal Compliance Assistance Program (or other audit program) for municipal garages | Town of Milton will participate in the Agency’s Municipal Compliance Assistance Program | In April 2019, Project Work Safe did an inspection of our highway garage facilities. They identified a few minor deficiencies, which were corrected. We just has our three year inspection in Winter of 2023. | None | None. The inspections should be done every three years and happened in Winter 2023 | None
Other

## Additional Reporting
Additional MS4 Reporting Requirements
Annual Review of SWMP completed | Yes
Results of information collected and analyzed, if not included elsewhere | None
Notice that permittee is relying on another entity to satisy some of its permit obligations | CCRPC and Winooski Resource Conservation District assists with MCM No.s 1 and 2.
Estimated funds spent on stormwater management for the fiscal year* | 400000
Other information, if applicable
Impaired Waters Response Plan
Impaired Stream | Lamoille River
Impairment | Mercury
Status of implementation | EPA Approved Regional Mercury TMDL on December 20, 2007
Planned activities for upcoming year | The TMDL does not specify a Waste Load Allocation or other requirement for the Milton MS4 System
Other information, if applicable
Impaired Waters | Arrowhead Lake
Impairment | Mercury
Status of implementation | EPA Approved Regional Mercury TMDL on December 20, 2007
Planned activities for upcoming year | The TMDL does not specify a Waste Load Allocation or other requirement for the Milton MS4 System
Other information, if applicable
Impaired Waters | Lake Champlain
Impairment | Phosphorous
Status of implementation | EPA Approved Lake Champlain Phosphorous TMDL in June 2016
Planned activities for upcoming year | The Town is in the process of developing a Phosphorous Control Plan (PCP) in accordance with permit requirements outlined in Section 8.2 of the MS4 Permit. The Town is prepared to follow the prescribed timeline for PCP implementation also outlined in the permit. A brief description of the work to be completed can be found in Milton's Stormwater Management Plan approved by ANR in May 2019.
Other information, if applicable
Impaired Waters | Lower Lamoille River
Impairment | Low dissolved oxygen. Three dams on this stretch of river create dissolved oxygen problems down stream
Status of implementation | No TMDL is necessary for this impaired segment as DEC has the authority and legal means available to address the problem found below the Clarks Falls hydroelectric facility.
Planned activities for upcoming year | None
Other information, if applicable

## NonStructural BMPs
Non Structural BMP Reporting
Complete Table 1 or 2, depending on tracking method used by MS4
Table 1. Area tracking method |  |  |  | Table 2. Measurement of material tracking method |  | Table 3. Phosphorus Reduction Factor
Sub Area Name (Lake segment, route, etc.) | Town-wide |  |  | Combined dry weight of material collected (kg) |  |  | 2/year (spring and fall) | Monthly | Weekly | 4X in the fall
Area of streets swept (acres) | 24.85 acres (Please See attached Appendix for Detail) |  |  | OR Cubic yards of material collected | 40 | Mechanical Broom | 1% | 3% | 5% | 17%
P Load from Streets where sweeping occurs (kg/year) | Unknown. There was an estimated 40 yards of debris removed. |  |  | Number of sediment samples taken | None | Vacuum Assisted | 2% | 4% | 8% | 17%
Sweeper Frequency | Once per year |  |  | Lab where samples were processed | N/A | High Efficiency Regenerative Air-Vacuum | 2% | 8% | 10% | 17%
Sweeper Technology | Vacuum Assisted |  |  | Record the average TP result | N/A
Year sweeping started | Unknown |  |  | Was a particle size analysis done? | N/A
If weekly or monthly, number of months streets are swept | N/A |  |  | Please attach results from the lab | N/A
Phosphorus Credit
Phosphrous Reduction from Street Sweeping (kg/year) |  |  |  | **There is currently no approved accounting methodology based on weight or volume of material collected. Should a method be developed, DEC anticipates information like that in Table 2 could be required.
Catch Basin Cleaning
P Load from Streets where catch basin cleaning occurs (kg/year) | Table 2
Phosphorus Credit | 2% | 2% | 2%
Phosphrous Reduction from Catch Basin Cleaning(kg/year) | Table 2

## FRP Implementation
Flow Restoration Plan Implementation
| XX Brook | XX Brook
Summary of actions taken to implement FRP components | Milton does not currently have a stormwater impaired stream. However, we are working with Karen Bates, ANR Basin Planner, on a plan to monitor Allen Brook, and identify efforts to improve water quality, and keep it from becoming an impaired stream.
What is the MS4's overall status in implementing the FRP? | State whether implmentation is complete or estimate % or number of projects remaining
Summary of BMP implentation planned for the next calendar year, if any.
Assessment of ability to meet outstanding schedule items | Please include any regulatory or funding support needed to complete remaining implementation.
Stream Flow Monitoring
Does your municipality conduct stream flow monitoring?
Steam Corridor Protection
Ordinance or regulation adopted to protect and regulate development in sw impaired water stream corridors | link to relevant municipal ordinance

## PCP Development
Phophorus Control Plan Development (PCP)
Road Erosion Inventory (REI) | Completed by CCRPC
Are there any segments on the MRGP Implementation Table portal that are incomplete? If so, please describe how the data will be completed. | A map of existing catch basins previously stored as a .kmz file has been converted and stored in ArcGIS, allowing easier edits and updates.
Roads and Outlets planned for upgrade in calendar year 2024. | The Town of Milton hired Krebs and Lansing in the fall of 2023 to design and manage construction for all Phase 1 projects in the Town's PCP. The Town is using the nearly $700,000 awarded to them through State MS4 appropriations to fund these and the majority of Phase 2 projects between now and Summer 2026. Our goal is to be contructing at least one project in 2024 with the realization that 2025 is the mostly likely timeline to do the Phase 1 construction.
Extent of street sweeping and catch basin cleaning | See 'Non-structural tab'
Extent of stormwater BMP implementation | See 'BMP Tracking Table'
What is the MS4's overall status in implementing the PCP? | The Town of Milton submitted it's PCP on April 1st, 2021. The Town of Milton spent much of 2023 laying the foundation to building a Stormwater Utility included educating the Selectboard in a Public Meeting as to the need of it and providing a draft Ordinance. The Town of Milton was also awarded approximately $720,000 by the State of Vermont to implement and meet its MS4 obligations. As part of that work the Town issued a SOQ in the fall of 2023 and hired Krebs & Lansing to begin to design and implement Phase 1 of our PCP. We anticipate the first of those projects going into construction late 2024 and be completed by Summer 20256.
Assessment of the ability to meet outstanding schedule items | Between State Funding and ARPA Funding the Town of Milton is well positioned to meet the outstanding items in the PCP. The Town anticipates adding the Stormwater Utility in the near future to provide further local funding and match resources.
List of '3 acre sites' that have been taken over by the MS4 in the past calendar year. | No
Has the additional loading from privately owned land associated with the 3-acre sites been addressed in the phosphorus control plan? If not describe the MS4s plan to address the additional target. | No - we will review once Stormwater Utility is operational.