## BMP P Tracking Table
|  | BMP Identification | [7 empty] | Design, Construction and Maintence | [5 empty] | Basin Information |  |  | BMP Tracking Specifications | [10 empty] | Phosphorus Calculations | [10 empty] | Drainage Area Prior to Upgrade | [6 empty] | BMP Specifications Prior to Upgrade
UniqueIDBTV | Unique ID | Project Name | Land Owner | Responsible Party | Latitude (decimal degrees) | Longitude (decimal degrees) | Existing SW permit number (if applicable) | Watershed Projects Database ID (if known) | Part of MS4/ Incorporated into MS4 | Cost Estimate (optional) | BMP Status | Year Planned Construction | Date Constructed | Date of last inspection | Maintence needed? | Applicable FRP | LC TMDL Drainage Area | LC TMDL Lake Segment | Eligible for Phosphorus Credit? | BMP Type | Impervious area (acres) | Pervious Entry Method | Pervious HSG A | Pervious HSG B | Pervious HSG C | Pervious HSG D | Total Pervious area (acres) | Storage volume (ft3) | Infiltration rate (in/hr) | * Load Before Treatment (kg/ac/yr) | * Storage Depth (inches) | Upper Efficiency - Lower Efficiency | Percent of Storage Depth Step | * Practice Efficiency | * P Reduction (kg/year) | Manual P Reduction (kg/yr) | Is this an upgrade to an existing BMP? | Does the upgrade changed the drainage area? | % Credit to MS4 | * P Credit (kg/yr) | Prior Impervious area (acres) | Pervious Entry Method 2 | HSG A | HSG B | HSG C | HSG D | Total Pervious Area | BMP type prior to upgrade | Previous storage volume (ft3) | Infiltration rate prior to upgrade (in/hr) | * Prior Load Before Treatment (kg/acre/year) | * Prior Storage Depth (inches) | Upper Efficiency - Lower Efficiency4 | Percent of Storage Depth Step5 | * Prior Practice Efficiency | * Estimated P removal of Prior Practice (kg/yr) | Manual P Reduction - Prior Practice (kg/yr)
312 | IN-73 | Pleasant Ave Drywell | City of Burlington | Burlington MS4 |  |  |  |  | No | 7000 | Complete |  | 2018-06-12 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | Yes | Infiltration Chambers | 0.5 | Total Pervious |  |  |  |  | 0.1 | 185 | 8.27 in/hr | 0.8337 | 0.10125 |  | 0.012499 |  |  |  | No | Yes | 100% |  | 10 | Total Pervious |  |  |  |  | 50 | Extended Dry Detention Pond | 30000 |  |  | 0.48697 |  | 0.43486 |  |  |  | 0
332 |  | Staniford Farms Pond | City of Burlington | Burlington MS4 | 44.508 | -73.2627 | 6887-9015 |  | Yes |  | Complete |  | 2015-09-01 |  |  | n/a | Main Lake Direct Drainage | Main Lake | Yes | Wet pond/ Created Wetland | 1.7 | Total Pervious |  |  |  |  | 1.2 | 6460 |  | 1.7001 | 0.88979 | 0.04 | 0.44894 | 45.8% | 0.77857 |  | No |  | 100% | 0.77857 | [11 empty] | 0 | [5 empty] | 0
333 |  | Alexis Drive Pond | City of Burlington | Burlington MS4 | 44.5047 | -73.2615 | 4380-9010 |  | Yes | 50000 | Complete |  | 2018-10-11 |  |  | n/a | Main Lake Direct Drainage | Main Lake | Yes | Wet pond/ Created Wetland | 3.3 | Total Pervious |  |  |  |  | 3.69 | 5440 |  | 3.4295 | 0.40196 | 0.12 | 0.0097802 | 25.12% | 0.86139 |  | No |  | 100% | 0.86139 | [11 empty] | 0 | [5 empty] | 0
180 |  | Leddy Park Bioretention | City of Burlington | Burlington MS4 | 44.5033 | -73.2526 | 723-INDS |  | Yes |  | Complete |  | 2018-09-01 |  |  | n/a | Main Lake Direct Drainage | Main Lake | Yes | Bioretention (infiltrating) | 1.2 | Total Pervious |  |  |  |  | 0.06 | 11985.51 | 2.41 in/hr | 1.1253 | 2 | 0 |  | 100% | 1.1253 |  | No |  | 100% | 1.1253 | [11 empty] | 0 | [5 empty] | 0
335 |  | LC Hunt Rooftop Disconnection | Burlington School District | Burlington MS4 | 44.5127 | -73.2484 |  |  | Yes |  | Complete |  | 2010-08-19 |  |  | n/a | Winooski River | Main Lake | No |  | 1.7789 | Total Pervious |  |  |  |  | 0.001 | #REF! | 8.27 in/hr | 1.9873 | [6 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
329 |  | Ward Street Rain Garden | City of Burlington | Burlington MS4 | 44.487 | -73.221973 |  |  | Yes |  | Complete |  | 2019-07-01 |  |  | n/a | Winooski River | Main Lake | Yes | Bioretention (infiltrating) | 0.05 | Total Pervious |  |  |  |  | 0.0025 | 115.85 | 8.27 in/hr | 0.056428 | 0.63262 | 0.03 | 0.16308 | 96.49% | 0.054446 |  | No |  | 100% | 0.054446 | [11 empty] | 0 | [5 empty] | 0
336 | INFS-17 | Park and Myrtle Subsurface Infiltration | City of Burlington | Burlington MS4 | 44.4851 | -73.2193 |  |  | No |  | Complete |  | 2018-08-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.48 | Total Pervious |  |  |  |  | #REF! | 812 | 8.27 in/hr | [7 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
328 | INFS-18 | Allen Street Infiltration System | City of Burlington | Burlington MS4 | 44.4836 | -73.2158 |  |  | No |  | Complete |  | 2019-08-31 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.17 | Total Pervious |  |  |  |  | #REF! | 1264 | 8.27 in/hr | [7 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
267 | INFS-6 | Cedar St Infiltration System | City of Burlington | Burlington MS4 | 44.4859 | -73.2141 |  |  | No |  | Complete |  | 2010-11-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.72 | Total Pervious |  |  |  |  | #REF! | 866.16 | 8.27 in/hr | [7 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
264 | INFS-8 | Manhattan Dr Infiltration System | City of Burlington | Burlington MS4 | 44.4893 | -73.2144 |  |  | No |  | Complete |  | 2010-07-30 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.3 | Total Pervious |  |  |  |  | 0.7 | 866 | 8.27 in/hr | 0.5527 | 0.57542 | 0.19 | 0.8771 | 91.66% | 0.50663 |  | No |  | 100% | 0.50663 | [11 empty] | 0 | [5 empty] | 0
265 | INFS-13 | Walnut St Infiltration System | City of Burlington | Burlington MS4 | 44.4899 | -73.2127 |  |  | No |  | Complete |  | 2010-05-06 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1 | Total Pervious |  |  |  |  | 0.05 | 976.32 | 8.27 in/hr | 1.6551 | 0.2679 | 0.25 | 0.33948 | 58.49% | 0.96802 |  | No |  | 100% | 0.96802 | [11 empty] | 0 | [5 empty] | 0
263 | INFS-7 | Luck Street Infiltration System | City of Burlington | Burlington MS4 | 44.4903 | -73.2114 |  |  | No |  | Complete |  | 2010-04-21 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.52 | Total Pervious |  |  |  |  | 0.026 | 921.24 | 8.27 in/hr | 0.86065 | 0.48468 | 0.19 | 0.42342 | 83.05% | 0.71473 |  | No |  | 100% | 0.71473 | [11 empty] | 0 | [5 empty] | 0
266 | INFS-12 | St. Marys St Infiltration System | City of Burlington | Burlington MS4 | 44.4888 | -73.2111 |  |  | No |  | Complete |  | 2010-05-06 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.23 | Total Pervious |  |  |  |  | 0.0115 | 866 | 8.27 in/hr | 0.38067 | 1.0226 | 0.01 | 0.045202 | 99.05% | 0.37704 |  | No |  | 100% | 0.37704 | [11 empty] | 0 | [5 empty] | 0
259 | INFS-1 | Thelma Maple Infiltration System | City of Burlington | Burlington MS4 | 44.4879 | -73.21 |  |  | No |  | Complete |  | 2010-10-05 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.09 | Total Pervious |  |  |  |  | 0.5 | 976.32 | 8.27 in/hr | 1.8406 | 0.23894 | 0.25 | 0.19468 | 54.87% | 1.0099 |  | No |  | 100% | 1.0099 | [11 empty] | 0 | [5 empty] | 0
260 | INFS-3 | Bright Street North Infiltration System | City of Burlington | Burlington MS4 | 44.4894 | -73.2084 |  |  | No |  | Complete |  | 2010-05-26 |  |  | n/a | Winooski River | Main Lake | Yes | Infiltration Chambers | 0.59 | Total Pervious |  |  |  |  | 0.13 | 866 | 8.27 in/hr | 0.68906 | 0.39444 | 0.25 | 0.97221 | 74.31% | 0.51201 |  | No |  | 100% | 0.51201 | [11 empty] | 0 | [5 empty] | 0
262 | INFS-4 | Bright Street South Infiltration System | City of Burlington | Burlington MS4 | 44.4887 | -73.2084 |  |  | No |  | Complete |  | 2010-05-26 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.77 | Total Pervious |  |  |  |  | 0.3 | 866 | 8.27 in/hr | 1.2959 | 0.29956 | 0.25 | 0.49781 | 62.45% | 0.80921 |  | No |  | 100% | 0.80921 | [11 empty] | 0 | [5 empty] | 0
258 | INFS-2 | Archibald St Infiltration System | City of Burlington | Burlington MS4 | 44.488 | -73.2075 |  |  | No |  | Complete |  | 2010-09-20 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.67 | Total Pervious |  |  |  |  | 0.13 | 866 | 8.27 in/hr | 1.1168 | 0.34919 | 0.25 | 0.74594 | 68.65% | 0.76669 |  | No |  | 100% | 0.76669 | [11 empty] | 0 | [5 empty] | 0
257 | INFS-10 | N. Winooski South Infiltration System | City of Burlington | Burlington MS4 | 44.4885 | -73.2073 |  |  | No |  | Complete |  | 2010-06-27 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.57 | Total Pervious |  |  |  |  | 0.18 | 866 | 8.27 in/hr | 0.95583 | 0.40368 | 0.19 | 0.018409 | 75.35% | 0.72022 |  | No |  | 100% | 0.72022 | [11 empty] | 0 | [5 empty] | 0
256 | INFS-11 | N. Winooski North Infiltration System | City of Burlington | Burlington MS4 | 44.4894 | -73.2061 |  |  | No |  | Complete |  | 2010-06-27 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.95 | Total Pervious |  |  |  |  | 0.26 | 976 | 8.27 in/hr | 1.5898 | 0.27683 | 0.25 | 0.38415 | 59.6% | 0.94756 |  | No |  | 100% | 0.94756 | [11 empty] | 0 | [5 empty] | 0
255 | INFS-9 | Hyde Street Infiltration System | City of Burlington | Burlington MS4 | 44.4896 | -73.2055 |  |  | No |  | Complete |  | 2010-06-16 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.51 | Total Pervious |  |  |  |  | 0.0255 | 976 | 8.27 in/hr | 0.8441 | 0.52329 | 0.19 | 0.61644 | 86.71% | 0.73194 |  | No |  | 100% | 0.73194 | [11 empty] | 0 | [5 empty] | 0
261 | INFS-5 | Bus Barn Infiltration System | City of Burlington | Burlington MS4 | 44.4895 | -73.2076 |  |  | No |  | Complete |  | 2011-09-11 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.83 | Total Pervious |  |  |  |  | 0.6 | 1307 | 8.27 in/hr | 3.0705 | 0.19304 | 0.5 | 0.93036 | 46.52% | 1.4283 |  | No |  | 100% | 1.4283 | [11 empty] | 0 | [5 empty] | 0
38 |  | Hyde Street Rain Garden, 147 Hyde St | City of Burlington | Burlington MS4 | 44.4885 | -73.2062 |  |  | No |  | Complete |  | 2014-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.24 | Total Pervious |  |  |  |  | 0.1 | 1120.435 | 8.27 in/hr | 0.40444 | 1.1358 | 0 | 0.27157 | 100% | 0.40444 |  | No |  | 100% | 0.40444 | [11 empty] | 0 | [5 empty] | 0
331 | IN-2016 | Russell St Infiltration Trench | City of Burlington | Burlington MS4 | 44.4857 | -73.207 |  |  | No |  | Complete |  | 2017-07-26 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Trench | 0.1 | Total Pervious |  |  |  |  | 0.005 | 431 | 8.27 in/hr | 0.16551 | 1.1683 | 0.01 | 0.33651 | 99.34% | 0.16441 |  | No |  | 100% | 0.16441 | [11 empty] | 0 | [5 empty] | 0
327 |  | North & Russell St Rain Garden | City of Burlington | Burlington MS4 | 44.485 | -73.2068 |  |  | No |  | Complete |  | 2019-08-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.07 | Total Pervious |  |  |  |  | 0.0035 | 177.085 | 8.27 in/hr | 0.11586 | 0.69017 | 0.03 | 0.45087 | 97.35% | 0.11279 |  | No |  | 100% | 0.11279 | [11 empty] | 0 | [5 empty] | 0
157 | IN-2034 | Booth Street Drywell - 44 Booth St | City of Burlington | Burlington MS4 | 44.4846 | -73.2068 |  |  | No |  | Complete |  | 2018-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.07 | Total Pervious |  |  |  |  | 0.0035 | 125 | 2.41 in/hr | 0.11586 | 0.48852 | 0.26 | 0.44258 | 66.51% | 0.077053 |  | No |  | 100% | 0.077053 | [11 empty] | 0 | [5 empty] | 0
330 |  | Booth Street Rain Garden - 32 Booth St | City of Burlington | Burlington MS4 | 44.4839 | -73.2067 |  |  | No |  | Complete |  | 2018-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.2 | Total Pervious |  |  |  |  | 0.01 | 228.39 | 2.41 in/hr | 0.33102 | 0.31315 | 0.21 | 0.56576 | 57.88% | 0.1916 |  | No |  | 100% | 0.1916 | [11 empty] | 0 | [5 empty] | 0
32 |  | North Street Rain Garden East | City of Burlington | Burlington MS4 | 44.4851 | -73.2001 |  |  | No |  | Complete |  | 2013-08-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.06 | Total Pervious |  |  |  |  | 0.003 | 496.5 | 8.27 in/hr | 0.099306 | 2 | 0 |  | 100% | 0.099306 |  | No |  | 100% | 0.099306 | [11 empty] | 0 | [5 empty] | 0
40 |  | North Street Rain Garden West | City of Burlington | Burlington MS4 | 44.4851 | -73.2008 |  |  | No |  | Complete |  | 2013-08-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.06 | Total Pervious |  |  |  |  | 0.003 | 319.415 | 8.27 in/hr | 0.099306 | 1.4378 | 0 | 0.87552 | 100% | 0.099306 |  | No |  | 100% | 0.099306 | [11 empty] | 0 | [5 empty] | 0
168 |  | Mansfield Ave Bioretention | City of Burlington | Burlington MS4 | 44.4849 | -73.1994 |  |  | No |  | Complete |  | 2019-06-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.72 | Total Pervious |  |  |  |  | 0.036 | 2899.56 | 8.27 in/hr | 1.1917 | 1.0927 | 0 | 0.18541 | 100% | 1.1917 |  | No |  | 100% | 1.1917 | [11 empty] | 0 | [5 empty] | 0
42 |  | Grant Street Rain Garden | City of Burlington | Burlington MS4 | 44.4823 | -73.2111 |  |  | No |  | Complete |  | 2016-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.34 | Total Pervious |  |  |  |  | 0.017 | 254.87 | 8.27 in/hr | 0.56273 | 0.20587 | 0.22 | 0.029328 | 59.65% | 0.33564 |  | No |  | 100% | 0.33564 | [11 empty] | 0 | [5 empty] | 0
42 |  | Grant Steet Infiltration System | City of Burlington | Burlington MS4 | 44.4823 | -73.2111 |  |  | No |  | Complete |  | 2016-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.8 | Total Pervious |  |  |  |  | 0.04 | 1716 | 8.27 in/hr | 1.3241 | 0.58603 | 0.19 | 0.93013 | 92.67% | 1.2271 |  | No |  | 100% | 1.2271 | [11 empty] | 0 | [5 empty] | 0
156 | INFS-15 | Grant & Elmwood Infiltration System (Retrofit 11) | City of Burlington | Burlington MS4 | 44.4822 | -73.2135 |  |  | No |  | Complete |  | 2016-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.3 | Total Pervious |  |  |  |  | 0.25 | 921 | 8.27 in/hr | 2.1668 | 0.19299 | 0.5 | 0.9299 | 46.5% | 1.0075 |  | No |  | 100% | 1.0075 | [11 empty] | 0 | [5 empty] | 0
35 |  | Waterfront Access North Bioretention | City of Burlington | Burlington MS4 | 44.4816 | -73.2227 |  |  | Yes |  | Complete |  | 2017-01-01 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Gravel Wetland | 0.45 | Total Pervious |  |  |  |  | 0.15 | 1857 |  | 0.62565 | 1.0365 | 0.04 | 0.073027 | 57.29% | 0.35845 |  | No |  | 100% | 0.35845 | [11 empty] | 0 | [5 empty] | 0
336 |  | Waterfront Access North Constructed Wetland | City of Burlington | Burlington MS4 | 44.4823 | -73.2235 |  |  | Yes |  | Complete |  | 2017-01-01 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Wet pond/ Created Wetland | 1.2 | Total Pervious |  |  |  |  | 0.8 | 4267 |  | 1.694 | 0.84549 | 0.04 | 0.22745 | 44.91% | 0.76077 |  | No |  | 100% | 0.76077 | [11 empty] | 0 | [5 empty] | 0
41 |  | College Street Pease Parking Lot | City of Burlington | Burlington MS4 | 44.4773 | -73.2203 |  |  | Yes |  | Complete |  | 2017-08-01 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Porous Pavement | 0.47 | Total Pervious |  |  |  |  | 0.001 | 10586 | 0.17 in/hr | 0.64349 | 2 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
280 | INFS-16 | King Street Infiltration System | City of Burlington | Burlington MS4 | 44.4746 | -73.2184 |  |  | No |  | Complete |  | 2017-07-31 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.77 | Total Pervious |  |  |  |  | 0.3 | 921 | 8.27 in/hr | 1.2959 | 0.31798 | 0.25 | 0.58991 | 64.75% | 0.83905 |  | No |  | 100% | 0.83905 | [11 empty] | 0 | [5 empty] | 0
243 |  | Great Streets St Paul RG#1 | City of Burlington | Burlington MS4 | 44.4757 | -73.2139 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.26 | Total Pervious |  |  |  |  | 0.001 | 371 | 2.41 in/hr | 0.1982 | 1.0077 | 0.12 | 0.064225 | 27.76% | 0.079972 |  | No |  | 100% | 0.079972 | [11 empty] | 0 | [5 empty] | 0
243 |  | Great Streets St Paul RG#2 (Lined) | City of Burlington | Burlington MS4 | 44.4753 | -73.214 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (w/ underdrain) | 0.13 | Total Pervious |  |  |  |  | 0.001 | 705 |  | 0.099142 | 1.9701 | 0.03 | 0.48279 | 95.93% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
243 |  | Great Streets St Paul RG#3 (Lined) | City of Burlington | Burlington MS4 | 44.4749 | -73.214 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (w/ underdrain) | 0.12 | Total Pervious |  |  |  |  | 0.001 | 440 |  | 0.21471 | 0.41285 | 0.07 | 0.39451 | 37.25% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
243 |  | Great Streets St Paul RG#4 | City of Burlington | Burlington MS4 | 44.4749 | -73.2138 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.06 | Total Pervious |  |  |  |  | 0.001 | 433 | 2.41 in/hr | 0.066122 | 0.89656 | 0.02 | 0.96744 |  | 0.066122 |  | No |  | 100% | 0.066122 | [11 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#5 (Lined) | City of Burlington | Burlington MS4 | 44.4748 | -73.2137 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (w/ underdrain) | 0.13 | Total Pervious |  |  |  |  | 0.001 | 195 |  | 0.34679 | 0.6789 | 0.04 | 0.061512 |  | 0.21471 |  | No |  | 100% | 0.21471 | [11 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#6 | City of Burlington | Burlington MS4 | 44.4747 | -73.2137 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.04 | Total Pervious |  |  |  |  | 0.001 | 131 | 2.41 in/hr | 0.066122 | 1.9837 | 0 |  | 100% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#7 (Lined) | City of Burlington | Burlington MS4 | 44.4742 | -73.2139 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (w/ underdrain) | 0.21 | Total Pervious |  |  |  |  | 0.001 | 518 |  | 0.21471 | 0.8123 | 0 |  | 100% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#8 | City of Burlington | Burlington MS4 | 44.4742 | -73.2138 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.04 | Total Pervious |  |  |  |  | 0.001 | 292 | 2.41 in/hr | 0.049612 | 2 | 0.02 | 0.3863 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#9 | City of Burlington | Burlington MS4 | 44.4737 | -73.2139 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.13 | Total Pervious |  |  |  |  | 0.001 | 384 | 2.41 in/hr | 0.066122 | 2 | 0.02 | 0.37956 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#10 | City of Burlington | Burlington MS4 | 44.4737 | -73.2138 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.03 | Total Pervious |  |  |  |  | 0.001 | 386 | 2.41 in/hr | 0.45456 | 1.6932 |  | 0.30865 |  | 0.49276 |  | No |  | 100% | 0.49276 | [11 empty] | 0 | [5 empty] | 0
338 |  | Great Streets St Paul RG#11 | City of Burlington | Burlington MS4 | 44.4737 | -73.2136 |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.04 | Total Pervious |  |  |  |  | 0.001 | 553 | 2.41 in/hr | 0.21144 | 1.6898 |  | 0.86519 |  | 0.1919 |  | No |  | 100% | 0.1919 | [11 empty] | 0 | [5 empty] | 0
243 |  | Great Streets St Paul PP @Main | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Porous Pavement | 0.27527 | Total Pervious |  |  |  |  | 0.001 | 1694.77 | 2.41 in/hr | 0.50733 | 1.1543 | 0.05 | 0.44977 | 97.13% | 0.24346 |  | No |  | 100% | 0.24346 | [11 empty] | 0 | [5 empty] | 0
338 |  | Greast Streets St Paul PP @King | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  | 2019-10-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Porous Pavement | 0.12802 | Total Pervious |  |  |  |  | 0.001 | 788.144 | 2.41 in/hr | 0.18746 | 1.4326 | 0.03 | 0.34313 | 102.4% | 0.0757 |  | No |  | 100% | 0.0757 | [11 empty] | 0 | [5 empty] | 0
211 |  | 789 S. Prospect Bioretention (3P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.283 | Total Pervious |  |  |  |  | 0.489 | 1847 | 0.52 in/hr | 0.60487 | 0.88995 | 0.18 | 0.56263 | 40.25% | 0.35855 |  | No |  | 100% | 0.35855 | [11 empty] | 0 | [5 empty] | 0
211 |  | 780 S. Prospect St Bioretention (2P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.105 | Total Pervious |  |  |  |  | 0.172 | 903 | 0.52 in/hr | 0.18342 | 1.1716 | 0.18 | 0.57598 | 41.27% | 0.29779 |  | No |  | 100% | 0.29779 | [11 empty] | 0 | [5 empty] | 0
211 |  | 812 S. Prospect St Bioretention (1P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.346 | Total Pervious |  |  |  |  | 0.41 | 1449 | 0.52 in/hr | 0.5245 | 0.31253 | 0.21 | 0.10716 | 68.36% | 0.20654 |  | No |  | 100% | 0.20654 | [11 empty] | 0 | [5 empty] | 0
212 |  | 865 S. Prospect St Bioretention (4P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.103 | Total Pervious |  |  |  |  | 0.163 | 665 | 0.52 in/hr | 0.70144 | 0.3152 | 0.18 | 0.18177 | 42.45% | 1.2198 |  | No |  | 100% | 1.2198 | [11 empty] | 0 | [5 empty] | 0
212 |  | 885 S. Prospect St Bioretention (7P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.293 | Total Pervious |  |  |  |  | 0.497 | 384 | 0.52 in/hr | 0.53422 | 0.42143 | 0.18 | 0.6867 | 38.66% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
213 |  | 874 S. Prospect St Bioretention (5P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.374 | Total Pervious |  |  |  |  | 1.024 | 536 | 0.52 in/hr | 1.4717 | 0.23635 | 0.09 | 0.49494 | 82.88% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
213 |  | 884 S. Prospect St Bioretention (15P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.253 | Total Pervious |  |  |  |  | 1.421 | 651 | 0.52 in/hr | 0.97976 | 0.33734 | 0.03 | 0.2206 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
289 |  | Prospect Pkwy Bioretention (8p) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.877 | Total Pervious |  |  |  |  | 0.29 | 770 | 1.02 in/hr | 0.2063 | 0.69899 | 0.15 | 0.12559 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
289 |  | Prospect Pkwy Bioretention (9p) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.524 | Total Pervious |  |  |  |  | 1.398 | 810 | 8.27 in/hr | 0.31498 | 0.64412 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
289 |  | Prospect Pkwy Bioretention (10P-A) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.103 | Total Pervious |  |  |  |  | 0.442 | 483 | 8.27 in/hr | 0.59659 | 0.42512 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
289 |  | Fairmount St Bioretention (10P-B) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.151 | Total Pervious |  |  |  |  | 0.801 | 695 | 2.41 in/hr | 0 |  |  |  |  | 0 |  | No |  | 100% | 0 | [17 empty] | 0
208 |  | Fairmount St Bioretention (11P-A) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.332 | Total Pervious |  |  |  |  | 0.591 | 624 | 2.41 in/hr | 0 |  |  |  |  | 0 |  | No |  | 100% | 0 | [15 empty] | 0 |  | 0
|  | 182 Lakewood Parkway | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) |  | Total Pervious | [35 empty] | 0
|  | 191 Lakewood Parkway | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete | 2021 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) |  | Total Pervious
|  | 146 Lakewood Parkway | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) |  | Total Pervious | [29 empty] | 0 | [5 empty] | 0
205 |  | South St Bioretention (12P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.375 | Total Pervious |  |  |  |  | 0.816 | 1009 | 2.41 in/hr | 0.23098 | 0.60442 | 0.21 | 0.67878 | 56.43% | 0.21234 |  | No |  | 100% | 0.21234 | [11 empty] | 0 | [5 empty] | 0
205 |  | South St Bioretention (13P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.072 | Total Pervious |  |  |  |  | 0.055 | 326 | 2.41 in/hr | 1.9898 | 0.594 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
204 |  | South St Bioretention (14P) | City of Burlington | Burlington MS4 |  |  |  |  | Yes |  | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.118 | Total Pervious |  |  |  |  | 0.441 | 425 | 2.41 in/hr | 0.26077 | 0.33576 | 0.15 | 0.69504 | 81.43% |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
43 |  | Blanchard Beach Constructed Wetland | City of Burlington | Burlington MS4 | 44.4563 | -73.2247 |  |  | Yes |  | Complete |  | 2012-10-12 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Wet pond/ Created Wetland | 0.32 | Total Pervious |  |  |  |  | 24.245 | 9515 |  | 0.73699 | 0.093188 | 0.03 | 0.94723 |  |  |  | No |  | 100% | [12 empty] | 0 |  | 0.94652 |  |  |  | 0
33 |  | Decatur St Rain Garden South | City of Burlington | Burlington MS4 | 44.4866 | -73.2104 |  |  | No |  | Complete |  | 2010-09-17 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.15 | Total Pervious |  |  |  |  | 0.16 | 201.91 | 8.27 in/hr | 0.42423 | 0.53901 | 0.01 | 0.4286 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
34 |  | Decatur St Rain Garden North | City of Burlington | Burlington MS4 | 44.4871 | -73.2112 |  |  | No |  | Complete |  | 2010-09-17 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.43 | Total Pervious |  |  |  |  | 0.33 | 148.95 | 8.27 in/hr | 73.6474 | 0.78945 | [5 empty] | No |  | 100% | [11 empty] | 73.6474 | 0.5893 | [5 empty] | 0
|  | 79 Industrial Parkway Rhino Foods | Rhino Foods |  | 44.4488 | -73.220523 | 4259-INDS.A1 |  | Yes |  | Complete |  | 2018-07-11 |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Wet pond/ Created Wetland | 1.48 | Total Pervious |  |  |  |  | 1.71 | 6663 |  | 2.1356 | 0.94853 | 0.04 | 0.74264 | 46.97% | 1.0031 |  | No |  | 100% | 1.0031 | [11 empty] | 0 | [5 empty] | 0
232 |  | City Market Western Rain Garden | Onion River Co-op |  | 44.4545 | -73.2186 |  |  | Yes |  | Complete |  | 2018-02-27 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (w/ underdrain) | 0.49 | Total Pervious |  |  |  |  | 0.14 | 3766 |  | 0.67977 | 1.8467 | 0.05 | 0.69341 | 56.47% | 0.38385 |  | No |  | 100% | 0.38385 | [11 empty] | 0 | [5 empty] | 0
232 |  | City Market Center Rain Garden | Onion River Co-op |  | 44.4547 | -73.2181 |  |  | Yes |  | Complete |  | 2018-02-27 |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (w/ underdrain) | 0.72 | Total Pervious |  |  |  |  | 0.11 | 4656 |  | 0.99272 | 1.6639 | 0.05 | 0.32772 | 54.64% | 0.54241 |  | No |  | 100% | 0.54241 | [11 empty] | 0 | [5 empty] | 0
39 |  | 40 School St Bioretention | City of Burlington | Burlington MS4 | 44.4844 | -73.2081 |  |  | Yes |  | Complete |  | 2013-09-01 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | Yes | Bioretention (infiltrating) | 0.25 | Total Pervious |  |  |  |  | 0.14 | 531.255 | 8.27 in/hr | 0.45752 | 0.88572 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
2.1 |  | O8 pond FRP retrofit | City of Burlington | Burlington MS4 | 44.4579 | -73.2116 |  |  |  | 360850 | Complete |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Wet pond/ Created Wetland | 50 | Total Pervious |  |  |  |  | 81.21 | 195061 |  | 1.9975 | 0 | [5 empty] | Yes | No | 100% | Enter Info --> | 50 | Total Pervious |  |  |  |  | 81.21 | Wet pond/ Created Wetland | 136061 |  |  | 0 | [5 empty] | 0
3 |  | SM6 | City of Burlington | Burlington MS4 | 44.4555 | -73.2131 |  |  |  |  | Complete |  | 2005-12-31 |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Wet pond/ Created Wetland | 19.52 | Total Pervious |  |  |  |  | 24.57 | 106208 |  | 3.1543 | 0 |  | 0.25759 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
8 |  | 208 Flynn (Howard Center) north end of parking lot | City of Burlington | Burlington MS4 | 44.4572 | -73.2176 | 6315-9030 - possible Ch. 26? |  |  |  | Complete |  | 2014-12-31 |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (infiltrating) | 1.1206 | Total Pervious |  |  |  |  | 0.24 | 360.79 | 2.41 in/hr | 0.63729 | -0.00054454 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
22 |  | 847 Pine St. | City of Burlington | Burlington MS4 | 44.4566 | -73.2156 | Ch. 26 - Folder_RSN 210311 |  |  |  | Complete |  | 2011-12-31 |  |  | Englesby Brook | Burlington Bay Direct Drainage |  | Yes | Bioretention (w/ underdrain) | 0.32438 | Total Pervious |  |  |  |  | 0.21 | 1211 | [8 empty] | No |  | 100% | [11 empty] | #REF! | [6 empty] | 0
23 |  | Rte 7-S Willard roundabout | City of Burlington | Burlington MS4 | 44.4619 | -73.2081 | 6756-INDS.R |  |  |  | Complete |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage |  | Yes | Sand filter (w/ underdrain) | 0.6 | Total Pervious |  |  |  |  | 0.14 | 1705 | [8 empty] | No |  | 100% | [11 empty] | #REF! | [6 empty] | 0
|  | Rose St (8P-1) | City of Burlington | Burlington MS4 | [6 empty] | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 0.648 | [5 empty] | 0.257 |  |  | 1.94 | 0 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Rose St (8P-2) | City of Burlington | Burlington MS4 | [6 empty] | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.171 | [5 empty] | 0.783 |  |  | 4.691 | 0 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | School St (11P) | City of Burlington | Burlington MS4 | [6 empty] | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.878 | [5 empty] | 0.655 |  |  | 1.7127 | 1.1288 |  |  |  | 0.37274 |  |  |  | 100% | 0.37274 | [11 empty] | 0 | [5 empty] | 0
|  | Grant/Union Bioretention Bump Out | City of Burlington | Burlington MS4 | 44.482 | -73.209 |  |  |  |  | Complete |  | 2023 |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.08 | [8 empty] | 0.71984 | 0 |  | 0.1691 | [5 empty] | 100% | [12 empty] | 0 |  | 0.1691 |  |  |  | 0
6 |  | 160 Flynn Ave (Switchback et al) | City of Burlington |  | 44.457 | -73.2197 | 6308-9030 (partial) |  |  |  | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Extended Dry Detention Pond | 3.36 | Total Pervious |  |  |  |  | 1.42 | 16 |  | 4.6907 | 0.0013085 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
7 |  | Champlain Parkway/208 Flynn Ave | City of Burlington |  | 44.4574 | -73.2186 | 6315-9090 (maybe) |  |  |  | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Extended Dry Detention Pond | 1.19 | Total Pervious |  |  |  |  | 1.64 | 5307 |  | 1.7341 | 0.90883 | 0.02 | 0.54417 | 10.09% | 0.17494 |  | No |  | 100% | 0.17494 | [11 empty] | 0 | [5 empty] | 0
|  | City Hall Park - A&B | City of Burlington | Burlington MS4 | [6 empty] | Complete |  | 2020 | 2023 |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.386 | [6 empty] | 0.763 |  | 1.1359 | 0 |  | 0.28595 | [5 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | City Hall Park - C | City of Burlington | Burlington MS4 | [6 empty] | Complete |  | 2020 | 2023 |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.153 | [6 empty] | 0.434 |  | 0 |  |  | 0.64067 | [5 empty] | 100% | [18 empty] | 0
10 |  | 288 Flynn Ave. Co-op parking lot | City of Burlington |  | 44.4559 | -73.2161 | 1-1087 (expired permit) |  |  | 15495 | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Extended Dry Detention Pond | 0.3 | Total Pervious |  |  |  |  | 0.12 | 1370 |  | 0.41838 | 1.1182 | 0.01 | 0.23631 | 11.24% | 0.04701 |  | No |  | 100% | 0.04701 | [11 empty] | 0 | [5 empty] | 0
|  | City Hall Park Pavers | City of Burlington | Burlington MS4 | [6 empty] | Complete |  | 2020 | 2023 |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention (infiltrating) | 0.592 | [6 empty] | 0.001 |  | 1.1458 | 0 |  | 0.94652 | [5 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
12 |  | Pine Street Deli - 316-322 Flynn Ave | City of Burlington |  | 44.456 | -73.214 | Ch. 26 - Folder_RSN 323658 |  |  |  | Complete |  | 2016-12-31 |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (infiltrating) | 0.33804 | Total Pervious |  |  |  |  | 0.05 | 2141 | 1.02 in/hr | 0.46598 | 1.6349 | 0.02 | 0.2697 | 97.54% | 0.45451 |  | No |  | 100% | 0.45451 | [11 empty] | 0 | [5 empty] | 0
13 |  | Burlington Subaru | City of Burlington |  | 44.4562 | -73.2101 | Ch. 26 - Folder_RSN 129388 |  |  |  | Complete |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Infiltration Chambers | 2.1774 | Total Pervious |  |  |  |  | 0.02 | 6810 | 2.41 in/hr | 2.9822 | 0.85968 | 0.05 | 0.2984 | 92.49% | 2.7583 |  | No |  | 100% | 2.7583 | [11 empty] | 0 | [5 empty] | 0
218 |  | Locust Street Rain Garden West | City of Burlington | Burlington MS4 | 44.4629 | -73.2117 |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (infiltrating) | 0.11 | Total Pervious |  |  |  |  | 0.001 | #REF! | 8.27 in/hr | 0.42934 | 0.39292 | 0.01 | 0.015459 | 97.77% | 0.055024 |  | No |  | 100% | 0.055024 | [11 empty] | 0 | [5 empty] | 0
15 |  | Overlake Condos | City of Burlington |  | 44.4645 | -73.2019 | 2-0789 (expired permit) |  |  | 40004 | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Bioretention (w/ underdrain) | 0.73 | Total Pervious |  |  |  |  | 0.46 | 3548 |  | 1.0288 | 1.1184 | 0.05 | 0.23689 | 49.18% | 0.50601 |  | No |  | 100% | 0.50601 | [11 empty] | 0 | [5 empty] | 0
220 |  | Locust Street Rain Garden East | City of Burlington | Burlington MS4 | 44.4632 | -73.2103 |  |  | Yes |  | Complete | 2020 |  |  |  | n/a | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (infiltrating) | 0.26 | Total Pervious |  |  |  |  | 0.001 | #REF! | 8.27 in/hr | 0.21471 | 1.4892 | 0.05 | 0.94022 | 54.45% | 0.095112 |  | No |  | 100% | 0.095112 | [11 empty] | 0 | [5 empty] | 0
21 |  | Sears Lane | City of Burlington |  | 44.4584 | -73.2178 |  |  |  |  | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Extended Dry Detention Pond | 0.34 | Total Pervious |  |  |  |  | 0.43 | 1479 |  | 0.49298 | 0.90646 | 0.02 | 0.53229 | 10.06% | 0.049616 |  | No |  | 100% | 0.049616 | [11 empty] | 0 | [5 empty] | 0
25 |  | Retrofit 20A | City of Burlington |  | 44.4841 | -73.1835 | 4773-INDS.TR, Folder_RSN 291593 |  |  | 558000 | Complete |  |  |  |  | Centennial Brook | Winooski River | Main Lake | No | Infiltration Trench | 3.82 | Total Pervious |  |  |  |  | 0.85 | 26702 | 8.27 in/hr | 4.4633 | 1.7387 | 0 | 0.47742 | 100% | 4.4633 |  | No |  | 100% | 4.4633 | [11 empty] | 0 | [5 empty] | 0
11 |  | 300 Flynn Ave (Pine Street Counseling Center) | City of Burlington |  | 44.456 | -73.2149 |  |  | No | 26567 | Final Design (100%) |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Bioretention (w/ underdrain) | 0.48 | Total Pervious |  |  |  |  | 0.32 | 2349 |  | 0.97739 | -4.6534e-07 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
|  | N. Champlain (9P) | City of Burlington | Burlington MS4 | [6 empty] | Final Design (100%) |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.918 | [5 empty] | 1.179 |  |  | 19.4462 | 1.1027 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
28 |  | Retrofit 19 | City of Burlington |  | 44.4779 | -73.1892 | 4215-INDS.R1 exists in this drainage area |  |  |  | Planned |  |  |  |  | Centennial Brook | Winooski River | Main Lake | No | Infiltration Trench | 0.52 | Total Pervious |  |  |  |  | 2.432 |  | 2.41 in/hr | 1.1426 | 0 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Cedar St (10P) | City of Burlington | Burlington MS4 | [6 empty] | Final Design (100%) |  |  |  |  | n/a | Burlington Bay - CSO | Shelburne Bay | No | Infiltration Chambers | 2.584 | [5 empty] | 0.852 |  |  | 11.1371 | 1.2398 | 0.1 | 0.73081 | [5 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Park & Summer ( 12P-1) | City of Burlington | Burlington MS4 | [6 empty] | Final Design (100%) |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 2.649 | [5 empty] | 1.795 |  |  | 1.3225 | 0 |  | 0.13832 | [5 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Park St ( 12P-2) | City of Burlington | Burlington MS4 | [6 empty] | Final Design (100%) |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 1.13 | [5 empty] | 0.907 |  |  | 0 |  |  | 0.78013 | [5 empty] | 100% | [18 empty] | 0
|  | Intervale (13P) | City of Burlington | Burlington MS4 | [6 empty] | Final Design (100%) |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers | 2.748 | [5 empty] | 1.879 |  |  | 0 |  |  | 0.79273 | [5 empty] | 100% | [18 empty] | 0
9 |  | M17: 288 Flynn Ave; space between CP and park. lot | City of Burlington | Burlington MS4 | 44.4558 | -73.2164 |  |  |  | 385500 | Planned |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Extended Dry Detention Pond | 13.38 | Total Pervious |  |  |  |  | 17.64 | 75341 |  | 0.2526 | -0.00078143 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
1 |  | Burlington Price Chopper | Burlington Price Chopper? | Burlington MS4 | 44.448 | -73.2104 |  |  |  | 1459000 | Preliminary Design (<100%) |  |  |  |  | Potash Brook | Laplatte River | Burlington Bay | Yes | Gravel Wetland | 11.48 | Total Pervious |  |  |  |  | 1.21 | 53550 |  | 0.83036 | 0.74616 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
16 |  | M26: Champlain Parkway Englesby | City of Burlington | Burlington MS4 | 44.4569 | -73.2171 | 3368-9010, 3368-INDS (operational permits) |  |  |  | Under Construction |  |  |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Extended Dry Detention Pond | 1.23 | Total Pervious |  |  |  |  | 0.45 | 5622 |  | 0.356 |  | 0 | 0.97842 | 104.7% | 0.11691 |  | No |  | 100% | 0.11691 | [11 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P4 | City of Burlington | Burlington MS4 | [6 empty] | Under Construction | 2024 |  |  |  | n/a | Burlington Bay - CSO | Main Lake | No | Peak Flow Detention Vault | 0.801 | [5 empty] | 0 |  |  | 4.032 | 0.42766 | 0.02 | 0.23186 | [5 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P5 | City of Burlington | Burlington MS4 | [6 empty] | Under Construction | 2024 |  |  |  | n/a | Burlington Bay - CSO | Main Lake | No | Peak Flow Detention Vault | [6 empty] | 0 |  |  | 0.40244 | 0.75603 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P6 | City of Burlington | Burlington MS4 | [6 empty] | Under Construction | 2024 |  |  |  | n/a | Burlington Bay - CSO | Main Lake | No | Bioretention Bumpout w/ Chamber | [6 empty] | 0 |  |  | 0.30501 | 1.3964 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P8A/P8B | City of Burlington | Burlington MS4 | [6 empty] | Under Construction | 2024 |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Peak Flow Detention Vault | 1.33 | [5 empty] | 0 |  |  | 1.3026 | 0 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
3.1 |  | SM6 FRP retrofit | City of Burlington | Burlington MS4 | 44.4555 | -73.2131 | [9 empty] | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Wet pond/ Created Wetland | 19.52 | Total Pervious |  |  |  |  | 24.57 | 106208 |  | 0.13208 | 0 | [5 empty] | Yes | No | 100% | Enter Info --> | 19.52 | Total Pervious |  |  |  |  | 24.57 | Wet pond/ Created Wetland | 106208 |  |  | 0 | [5 empty] | 0
14 |  | Harrison Ave, near Central Ave | City of Burlington | Burlington MS4 | 44.4588 | -73.2207 | [9 empty] | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | Yes | Bioretention (w/ underdrain) | 0.31 | Total Pervious |  |  |  |  | 0.07 | 1379 |  | 0.15065 |  | 0.22 | 0.9646 | 59.02% | 0.41977 |  | No |  | 100% | 0.41977 | [11 empty] | 0 | [5 empty] | 0
26 |  | Retrofit 20 | City of Burlington | Burlington MS4 | 44.4849 | -73.1844 |  |  |  | 156200 | [5 empty] | Centennial Brook | Winooski River | Burlington Bay | Yes | Infiltration Trench | 2.33 | Total Pervious |  |  |  |  | 6.1879 | 4800 | 2.41 in/hr | 0.6776 | 1.1159 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
27 |  | Retrofit M7C | City of Burlington | Burlington MS4 | 44.4797 | -73.1904 |  |  |  | 25000 | [5 empty] | Centennial Brook | Winooski River | Burlington Bay | Yes | Bioretention (infiltrating) | 0.23 | Total Pervious |  |  |  |  | 0.63 | 1000 | 2.41 in/hr | 3.2633 | 0 |  | 0.20541 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
29 |  | Retrofit M7D | City of Burlington | Burlington MS4 | 44.4785 | -73.1906 |  |  |  | 44000 | [5 empty] | Centennial Brook | Winooski River | Burlington Bay | Yes | Bioretention (w/ underdrain) | 0.18 | Total Pervious |  |  |  |  | 0.45 | 1800 |  | 4.336 | 0 |  | 0.47958 |  |  |  | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
30 |  | Retrofit M1A | City of Burlington | Burlington MS4 | 44.4756 | -73.1886 |  |  |  | 167200 | [5 empty] | Centennial Brook | Winooski River | Burlington Bay | Yes | Extended Dry Detention Pond | 2.74 | Total Pervious |  |  |  |  | 3.8 | 30800 |  | 4.5207 | 0 | [5 empty] | Yes |  | 100% | Enter Info --> | [11 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P1 NO LONGER PLANNED | City of Burlington | Burlington MS4 | [11 empty] | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention Bumpout w/ Chamber | 0.789 | [5 empty] | 0 |  |  | 2.1958 | 0 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
2 |  | O8 pond NO LONGE PLANNED | City of Burlington | Burlington MS4 | 44.4579 | -73.2116 |  |  |  | 3608500 |  |  | 2005-12-31 |  |  | Englesby Brook | Burlington Bay Direct Drainage | Burlington Bay | No | Wet pond/ Created Wetland | 50 | Total Pervious |  |  |  |  | 81.21 | 136061 |  | 1.0909 | 0 | [5 empty] | No |  | 100% | [12 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P2 NO LONGER PLANNED | City of Burlington | Burlington MS4 | [11 empty] | n/a | Burlington Bay - CSO | Burlington Bay | No | Bioretention Bumpout w/ Chamber | 0.436 | [5 empty] | 0 |  |  | 28.2954 | 1.0846 | [7 empty] | 100% | [11 empty] | 28.2954 | 1.0846 | [5 empty] | 0
|  | Main St. Great Streets - P3 NO LONGER PLANNED | City of Burlington | Burlington MS4 | [11 empty] | n/a | Burlington Bay - CSO | Burlington Bay | No | Peak Flow Detention Vault | 0.688 | [5 empty] | 0 |  |  | 0.42887 | 1.143 |  |  |  | 0.088909 |  |  |  | 100% | 0.088909 | [11 empty] | 0 | [5 empty] | 0
|  | Main St. Great Streets - P7 ABANDONED | City of Burlington | Burlington MS4 | [11 empty] | n/a | Burlington Bay - CSO | Main Lake | No | Peak Flow Detention Vault | [6 empty] | 0 |  |  | 3.9384 | 1.8203 | [7 empty] | 100% | [11 empty] | 0 | 0 | [5 empty] | 0
|  | Main St. Great Streets - P9 ABANDONED | City of Burlington | Burlington MS4 | [11 empty] | n/a | Burlington Bay - CSO | Burlington Bay | No | Peak Flow Detention Vault | 0.694 | [5 empty] | 0 |  |  | 73.6474 | 0.5893 | [7 empty] | 100% | [12 empty] | 0 | [5 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[39 empty] | 100% | [18 empty] | 0
[11 empty] | Complete |  |  |  |  | n/a | Burlington Bay - CSO | Burlington Bay | No | Infiltration Chambers
Note on AW1: If the BMP has been upgraded multiple times, specifications entered in this section should be the last configuration that is not eligible for credit under the phosphorus control plan.
Note on B2: An indentifier assigned by the MS4, such as from a FRP or PCP.
Note on AF2: Storage depth maxes out at 2", which is the max value on the EPA performance curves.
Note on AK2: Use only if the worksheet does not accomodate the situation, such as if there are practices in series. Manual values will override calculated values if present
Note on AN2: Administrator: If credit for the practice is going to be shared between MS4s, put the % credit received by your MS4 here.
Note on BA2: Storage depth maxes out at 2", which is the max value on the EPA performance curves.
Note on A6: Polly Crocker: There were multiple proposed BMPs in Leddy Park, 180 is the one rain garden
Note on AC6: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on U7: Amy Macrellis: Underground storage - confirm whether infiltrating or discharging to CSS
Note on AB7: Polly Crocker: Assumed zero, but need small value for calcs to work
Note on AC7: Polly Crocker: Calculated from 1" storm, Impervious drainage area, and runoff coefficient
Note on AO7: Amy Macrellis: Need BMP type for this to populate
Note on AC8: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC11: Amy Macrellis: Capacity in StormInfiltrationSystem is 1725. Update?
Note on AC12: Amy Macrellis: confirm storage volume
Note on AC13: Amy Macrellis: 2875 cf in infrastructure inventory map
Note on AC14: Amy Macrellis: 2300 cf in infrastructure inventory mapping
Note on AC15: Amy Macrellis: 1725 cf in StormInfiltrationSystem layer
Note on AC16: Amy Macrellis: 2875 cf in StormInfiltrationSystem layer
Note on AC17: Amy Macrellis: 1725 cf in StormInfiltrationSystems layer
Note on AC18: Amy Macrellis: 1725 cf in StormInfiltrationSystem layer
Note on AC19: Amy Macrellis: 1725 ft3 in StormInfiltrationSystem layer
Note on AC20: Amy Macrellis: 1725 cf in StormInfiltrationSystem layer
Note on AC21: Amy Macrellis: 2875 cf in StormInfiltrationSystem layer
Note on V23: Greg Johnson: Value taken from Steve's 2009 SWMM model build
Note on AC23: Amy Macrellis: 6730 ft3 in StormInfiltrationSystem layer
Note on AC24: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC26: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC28: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC29: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC30: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC31: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC32: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on A33: Polly Crocker: This system was installed in conjunction with bioretention on Grant St
Note on AC37: Polly Crocker: Pulled from HydroCAD provided by James via 1/20/2020 email
Note on AO37: Polly Crocker: Need to ask Emily about performance curve for PP - does not exist
Note on AC39: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC40: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC41: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC42: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC43: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC44: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC45: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC46: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC47: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC48: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on AC49: Polly Crocker: Pulled from HydroCAD provided by James via 1/21/20 email
Note on V50: Polly Crocker: Calculated as ratio to total drainage area (17568sf)
Note on AB50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Storage volumes for PP look high - highlighted in red - basis for calculation?
Note on AC50: Polly Crocker: Calculated from sf from Mapped Managed Impervious map data provided by James 1/17/20
Note on AO50: Polly Crocker: Need to ask Emily about performance curve for PP - does not exist
Note on V51: Polly Crocker: Calculated as ratio to total drainage area (17568sf)
Note on AC51: Polly Crocker: Calculated from sf from Mapped Managed Impervious map data provided by James 1/17/20
Note on AO51: Polly Crocker: Need to ask Emily about performance curve for PP - does not exist
Note on U52: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U53: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U54: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U55: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U56: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U57: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U59: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U63: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U64: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U65: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U66: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U67: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on U68: Amy Macrellis: BMP has underdrain but designed to infiltrate when possible - selected "infiltrating" bioretention
Note on AC71: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AC72: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on AO72: Polly Crocker: Emily - too small to register performance curve?
Note on A73: Polly Crocker: No wetland BMP on Opps Map at 79 Industrial Way. Not added to Opps pending dicussion on taking over private operational permits
Note on H74: Greg Johnson: James?
Note on AC76: Polly Crocker: Calculated from sf provided by James via email 1/17/20 and BMP sizing assumptions developed by Polly
Note on N79: Amy Macrellis: Confirm completion date - 2014 in Private Stormwater Project Points
Note on U79: Amy Macrellis: Was Dry ED Pond in Englesby FRP
Note on V79: Amy Macrellis: Was 1.85 acres in Engeslby FRP
Note on AC79: Amy Macrellis: Was 8,198 in Englesby FRP
Note on AO79: Polly Crocker: Emily - too small to register performance curve?
Note on AO86: Polly Crocker: Emily - too small to register performance curve?
Note on U92: Amy Macrellis: Was dry ED pond in Englesby FRP
Note on V92: Amy Macrellis: Was 0.48 ac in Englesby
Note on AC92: Amy Macrellis: Storage volume not updated - need infomration about subsurface storage volume and relation to bioretention
Note on N93: Amy Macrellis: convirm date?
Note on AC93: Amy Macrellis: This storage volume is from Englesby FRP - need storage volume built
Note on V94: James Sherrard: Pending
Note on AC94: Polly Crocker: Calculated from 1" storm, Impervious drainage area, and runoff coefficient
Note on U95: Polly Crocker: Assumed underdrained b/c of poor soils documented in FRP table
Note on V96: James Sherrard: Pending
Note on AC96: Polly Crocker: Calculated from 1" storm, Impervious drainage area, and runoff coefficient
Note on N98: Amy Macrellis: confirm date of completion?
Note on U98: Amy Macrellis: BMPs include grass swale, surface infiltration, bioretention, wet ED pond. Need details. There is a tracking point in City mapping but no detail.
Note on V98: Amy Macrellis: Impervious managed in operational permit is 6.62 acres
Note on AC98: Amy Macrellis: This volume is from FRP, not permits - needs update
Note on AD98: Polly Crocker: 5in/hr quoted in FRP tracking sheet
Note on U99: Polly Crocker: Assumed underdrained b/c of poor soils documented in FRP tracking table
Note on C101: Amy Macrellis: Confirm this site is in FRP - I am not convinced.
Note on AC101: Amy Macrellis: Need storage volume from centennial FRP
Note on AD101: Amy Macrellis: Assumed based on soil survey
Note on AO101: Amy Macrellis: Need storage volume for this to populate
Note on AC113: Amy Macrellis: Can't find the increased storage volume for the SM6 wetland in the FRP doc. Can go back into spreadsheets if needed but get City input on whether they'd ever pursue. If not, delete.
Note on U114: Polly Crocker: Assumed underdrained b/c of poor soils documented in FRP tracking table
Note on AD115: Amy Macrellis: Assumed based on soil survey
Note on U116: Polly Crocker: Assumed infiltrating b/c of goodsoils documented in FRP tracking table
Note on AD116: Amy Macrellis: Assumed based on soil survey
Note on U117: Polly Crocker: Assumed underdrained b/c of poor soils documented in FRP tracking table
Note on AO118: Polly Crocker: Need old pond (Centennial Court Apartments) info

## Instructions
BMP Tracking Table Instructions
Last updated 2/12/2020
The workbook is designed to track stormwater practices that are owned or controlled by an MS4. There are two tabs:
· BMP P Tracking Table – used to track practice maintenance, construction, and phosphorus accounting of practices included in a phosphorus control plan (PCP) or flow restoration plan (FRP).
· Maintenance – used to track maintenance of practices that are not included in a phosphorus control plan or flow restoration plan, but the MS4 has taken full legal responsibility for.
Some cells have a dropdown that appear when the cell is selected. Please select one of the values from the list, rather than typing in a value manually. If a value is input that doesn’t match one of the expected values, formulas in the workbook may break.
Do not put anything in cells that have been grey out . This could break equations.
If the appropriate FRP Watershed is selected, the drainage area and lake segment will autofill, although it may not work if you delete the cell contents. Drainage areas and Lake Segments can be found on the Natural Resources Atlas (linked below) by selecting ANR Basemap Data> Lake Segment Basins. Stormwater Impaired Watersheds are found under Stormwater>Stormwater Impaired Watersheds.
http://anrmaps.vermont.gov/websites/anra5/
Some cells of the worksheet are locked to protect the formulas. Where this is the case , the field name is marked with an *. If errors are discovered please contact:
emily.schelley@vermont.gov
What can be included for phosphorus credit?
• Increase in treatment built during or after 2002 on existing impervious
• Treatment of new impervious after 2010 that was not required to obtain a state stormwater permit
Storage Volumes
The storage volume is the maximum amount of water that a practice can hold at one time. The storage volume that should be used for credit calculations is typically the volume of water can hold during storms up to the 1-year return storm. Some practices are designed to provide attenuation and safe passage of larger storms, such as the 10- or 100-year return storm; however, this additional volume typically does not stay in the practice long enough to receive much treatment and shouldn’t be included in credit calculations.
Storage Volume for Ponds and Wetlands
For wet ponds and gravel wetlands, there is typically a large outlet at or near the top of the outlet riser that allows larger storms to exit the practice quickly. Storage above that level is considered flood storage and should be excluded from credit calculations.
Generalized diagram off a wet pond
Modeling documentation for the practice should include a stage vs. storage table that can be used to determine the appropriate volume for credit calculations.
HydroCAD summary of a wet pond showing the correct storage volume for credit calculations
Many ponds built prior to the adoption of the 2002 Vermont Stormwater Management Manual were designed for peak flow attenuation and have neither a permanent pool nor extended detention. Ponds lacking these features are not assigned a phosphorus credit as they do not provide significant treatment.
Storage Volume for Grass Channels
Grass channels were a popular treatment practice under the 2002 Vermont Stormwater Management Manual (VSMM). Grass channels were typically sized to provide treatment for the water quality storm, which was the 0.9” storm under the 2002 VSMM. Grass channel typically have volume to convey large storms but credit calculations should be based on the peak volume of water in the swale during the water quality storm.
HydroCAD summary of a grass channel (swale) showing the correct storage volume for credit calculations
Storage Volume of Filters and Bioretention Practices
When calculating the storage of a filter media, the porosity (n) of 0.33 should be used. The same rule about excluding flood storage in storage calculations as for ponds and wetlands applies to these practices.
Permanent Pool
Extended Detention 12-24 hours, typically controlled by a small orifice
Flood Storage – Typically short detention times.
Storage Volume for Credit
Calcs
Outlet Riser
Overflow for large storms
Small outlet for extended detention
Overflow Orifice
Storage volume @ 370’ = 26,389 ft3

## Maintenance Only
BMP Identification | [7 empty] | Maintenace
Unique ID | Project Name | Land Owner | Responsible Party | Latitude (decimal degrees) | Longitude (decimal degrees) | Previous SW permit number (if applicable) | Part of MS4/ Incorporated into MS4 | Date of last inspection | Maintence needed?
ABC0001 | Test BMP | Townsville MS4 | Colchester MS4 | 44.1111 | -73 | 3000-9010
Note on A2: An indentifier assigned by the MS4, such as from a FRP or PCP.

## Performance Curves
Practice Type | Infiltration Rate |  | 0 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1.5 | 2
Extended Dry Detention Pond |  | Extended Dry Detention Pond | 0% | 3% | 6% | 8% | 9% | 11% | 12% | 13% | 14%
Bioretention (infiltrating) | 8.27 in/hr | Bioretention (infiltrating) 8.27 in/hr | 0% | 59% | 81% | 96% | 99% | 100% | 100% | 100% | 100%
Bioretention (infiltrating) | 2.41 in/hr | Bioretention (infiltrating) 2.41 in/hr | 0% | 46% | 67% | 87% | 94% | 97% | 98% | 100% | 100%
Bioretention (infiltrating) | 1.02 in/hr | Bioretention (infiltrating) 1.02 in/hr | 0% | 41% | 60% | 81% | 90% | 94% | 97% | 99% | 100%
Bioretention (infiltrating) | 0.52 in/hr | Bioretention (infiltrating) 0.52 in/hr | 0% | 38% | 56% | 77% | 87% | 92% | 95% | 98% | 99%
Bioretention (infiltrating) | 0.27 in /hr | Bioretention (infiltrating) 0.27 in /hr | 0% | 37% | 54% | 74% | 85% | 90% | 93% | 98% | 99%
Bioretention (infiltrating) | 0.17 in/hr | Bioretention (infiltrating) 0.17 in/hr | 0% | 35% | 52% | 72% | 82% | 88% | 92% | 97% | 99%
Bioretention (w/ underdrain) |  | Bioretention (w/ underdrain) | 0% | 14% | 25% | 37% | 44% | 48% | 53% | 58% | 63%
Dry Swale (infiltrating) | 8.27 in/hr | Dry Swale (infiltrating) 8.27 in/hr | 0% | 59% | 81% | 96% | 99% | 100% | 100% | 100% | 100%
Dry Swale (infiltrating) | 2.41 in/hr | Dry Swale (infiltrating) 2.41 in/hr | 0% | 46% | 67% | 87% | 94% | 97% | 98% | 100% | 100%
Dry Swale (infiltrating) | 1.02 in/hr | Dry Swale (infiltrating) 1.02 in/hr | 0% | 41% | 60% | 81% | 90% | 94% | 97% | 99% | 100%
Dry Swale (infiltrating) | 0.52 in/hr | Dry Swale (infiltrating) 0.52 in/hr | 0% | 38% | 56% | 77% | 87% | 92% | 95% | 98% | 99%
Dry Swale (infiltrating) | 0.27 in /hr | Dry Swale (infiltrating) 0.27 in /hr | 0% | 37% | 54% | 74% | 85% | 90% | 93% | 98% | 99%
Dry Swale (infiltrating) | 0.17 in/hr | Dry Swale (infiltrating) 0.17 in/hr | 0% | 35% | 52% | 72% | 82% | 88% | 92% | 97% | 99%
Dry Swale (w/ underdrain) |  | Dry Swale (w/ underdrain) | 0% | 14% | 25% | 37% | 44% | 48% | 53% | 58% | 63%
Gravel Wetland |  | Gravel Wetland | 0% | 19% | 26% | 41% | 51% | 57% | 61% | 65% | 66%
Infiltration Chambers | 8.27 in/hr | Infiltration Chambers 8.27 in/hr | 0% | 50% | 75% | 94% | 98% | 99% | 100% | 100% | 100%
Infiltration Chambers | 2.41 in/hr | Infiltration Chambers 2.41 in/hr | 0% | 33% | 55% | 81% | 91% | 96% | 98% | 100% | 100%
Infiltration Chambers | 1.02 in/hr | Infiltration Chambers 1.02 in/hr | 0% | 27% | 47% | 73% | 86% | 92% | 96% | 99% | 100%
Infiltration Chambers | 0.52 in/hr | Infiltration Chambers 0.52 in/hr | 0% | 23% | 42% | 68% | 82% | 89% | 94% | 98% | 99%
Infiltration Chambers | 0.27 in /hr | Infiltration Chambers 0.27 in /hr | 0% | 20% | 37% | 63% | 78% | 86% | 92% | 97% | 99%
Infiltration Chambers | 0.17 in/hr | Infiltration Chambers 0.17 in/hr | 0% | 18% | 33% | 57% | 73% | 83% | 90% | 97% | 99%
Infiltration Trench | 8.27 in/hr | Infiltration Trench 8.27 in/hr | 0% | 50% | 75% | 94% | 98% | 99% | 100% | 100% | 100%
Infiltration Trench | 2.41 in/hr | Infiltration Trench 2.41 in/hr | 0% | 33% | 55% | 81% | 91% | 96% | 98% | 100% | 100%
Infiltration Trench | 1.02 in/hr | Infiltration Trench 1.02 in/hr | 0% | 27% | 47% | 73% | 86% | 92% | 96% | 99% | 100%
Infiltration Trench | 0.52 in/hr | Infiltration Trench 0.52 in/hr | 0% | 23% | 42% | 68% | 82% | 89% | 94% | 98% | 99%
Infiltration Trench | 0.27 in /hr | Infiltration Trench 0.27 in /hr | 0% | 20% | 37% | 63% | 78% | 86% | 92% | 97% | 99%
Infiltration Trench | 0.17 in/hr | Infiltration Trench 0.17 in/hr | 0% | 18% | 33% | 57% | 73% | 83% | 90% | 97% | 99%
Porous Pavement |  | Porous Pavement
Sand filter (infiltrating) | 8.27 in/hr | Sand filter (infiltrating) 8.27 in/hr | 0% | 50% | 75% | 94% | 98% | 99% | 100% | 100% | 100%
Sand filter (infiltrating) | 2.41 in/hr | Sand filter (infiltrating) 2.41 in/hr | 0% | 33% | 55% | 81% | 91% | 96% | 98% | 100% | 100%
Sand filter (infiltrating) | 1.02 in/hr | Sand filter (infiltrating) 1.02 in/hr | 0% | 27% | 47% | 73% | 86% | 92% | 96% | 99% | 100%
Sand filter (infiltrating) | 0.52 in/hr | Sand filter (infiltrating) 0.52 in/hr | 0% | 23% | 42% | 68% | 82% | 89% | 94% | 98% | 99%
Sand filter (infiltrating) | 0.27 in /hr | Sand filter (infiltrating) 0.27 in /hr | 0% | 20% | 37% | 63% | 78% | 86% | 92% | 97% | 99%
Sand filter (infiltrating) | 0.17 in/hr | Sand filter (infiltrating) 0.17 in/hr | 0% | 18% | 33% | 57% | 73% | 83% | 90% | 97% | 99%
Sand filter (w/ underdrain) |  | Sand filter (w/ underdrain) | 0% | 14% | 25% | 37% | 44% | 48% | 53% | 58% | 63%
Infiltration Basin | 8.27 in/hr | Infiltration Basin 8.27 in/hr | 0% | 59% | 81% | 96% | 99% | 100% | 100% | 100% | 100%
Infiltration Basin | 2.41 in/hr | Infiltration Basin 2.41 in/hr | 0% | 46% | 67% | 87% | 94% | 97% | 98% | 100% | 100%
Infiltration Basin | 1.02 in/hr | Infiltration Basin 1.02 in/hr | 0% | 41% | 60% | 81% | 90% | 94% | 97% | 99% | 100%
Infiltration Basin | 0.52 in/hr | Infiltration Basin 0.52 in/hr | 0% | 38% | 56% | 77% | 87% | 92% | 95% | 98% | 99%
Infiltration Basin | 0.27 in /hr | Infiltration Basin 0.27 in /hr | 0% | 37% | 54% | 74% | 85% | 90% | 93% | 98% | 99%
Infiltration Basin | 0.17 in/hr | Infiltration Basin 0.17 in/hr | 0% | 35% | 52% | 72% | 82% | 88% | 92% | 97% | 99%
Wet pond/ Created Wetland |  | Wet pond/ Created Wetland | 0% | 14% | 25% | 37% | 44% | 48% | 53% | 58% | 63%
Grass Channel |  | Grass Channel | 0% | 2% | 5% | 9% | 13% | 17% | 21% | 29% | 36%

## Loading Rates (hidden)
Lake Segment | Drainage Area | Unpaved Roads | Paved Roads | Non-Road Impervious | Developed Impervious | Developed Pervious |  |  |  |  | Forest
[6 empty] | HSG A | HSG B | HSG C | HSG D | Weighted Average
South Lake B | Mettawee River | 2.299 | 0.823 | 1.197 | 1.04 | 0.062 | 0.273 | 0.42 | 0.787 | 0.289 | 0.259
South Lake B | Poultney River | 2.259 | 0.839 | 1.169 | 1.012 | 0.142 | 0.137 | 0.164 | 0.643 | 0.289 | 0.261
South Lake B | South Lake B Direct Drainage | 2.381 | 1.097 | 1.464 | 1.298 | 0.036 | 0.238 | 0.947 | 0.412 | 0.947 | 0.131
South Lake A | South Lake A Direct Drainage | 2.321 | 0.927 | 1.309 | 1.127 | 0.036 | 0.238 | 0.25 | 0.374 | 0.373 | 0.132
Port Henry | Port Henry Direct Drainage | 2.224 | 0.894 | 1.241 | 1.081 | 0.001 | 0.556 | 0.288 | 0.506 | 0.503 | 0.073
Otter Creek | Lewis Creek | 2.208 | 0.854 | 0.989 | 0.928 | 0.01 | 0.342 | 0.283 | 0.332 | 0.29 | 0.071
Otter Creek | Little Otter Creek | 2.36 | 0.957 | 1.233 | 1.097 | 0.024 | n/a | 0.144 | 0.4 | 0.366 | 0.037
Otter Creek | Otter Creek | 2.115 | 0.818 | 1.15 | 0.998 | 0.1 | 0.276 | 0.271 | 0.398 | 0.292 | 0.248
Otter Creek | Otter Creek Direct Drainage | 2.272 | 0.881 | 1.095 | 1.005 | 0.036 | 0.238 | 0.273 | 0.351 | 0.348 | 0.399
Main Lake | Main Lake Direct Drainage | 2.081 | 0.877 | 0.933 | 0.914 | 0.001 | 0.043 | 0.288 | 0.301 | 0.095 | 0.268
Main Lake | Winooski River | 2.207 | 0.802 | 1.117 | 0.98 | 0.02 | 0.254 | 0.284 | 0.467 | 0.231 | 0.181
Shelburne Bay | Laplatte River | 2.075 | 0.735 | 0.952 | 0.878 | 0.01 | 0.059 | 0.123 | 0.243 | 0.172 | 0.061
Burlington Bay | Burlington Bay - CSO | n/a | 0.921 | 1.651 | 1.449 | 0.015 | 0.158 | 0.288 | 0.354 | 0.082 | 0.096
Burlington Bay | Burlington Bay Direct Drainage | 1.939 | 0.75 | 1.369 | 1.215 | 0.001 | 0.058 | 0.288 | 0.34 | 0.064 | 0.17
Malletts Bay | Lamoille River | 2.034 | 0.81 | 1.138 | 0.986 | 0.037 | 0.213 | 0.438 | 0.547 | 0.228 | 0.069
Malletts Bay | Malletts Bay Direct Drainage | 2.01 | 0.677 | 0.825 | 0.758 | 0.011 | 0.099 | 0.288 | 0.392 | 0.012 | 0.028
Northeast Arm | Northeast Arm Direct Drainage | 2.067 | 0.819 | 1.144 | 1.002 | 0.036 | 0.238 | 0.104 | 0.298 | 0.298 | 0.342
St. Albans Bay | St. Albans Bay Direct Drainage | 1.992 | 0.791 | 1.24 | 1.059 | 0.036 | 0.049 | 0.194 | 0.412 | 0.178 | 0.069
Missisquoi Bay | Missisquoi Bay Direct Drainage | 2 | 0.817 | 0.714 | 0.76 | 0.023 | 0.285 | 0.508 | 0.316 | 0.415 | 0.088
Missisquoi Bay | Missisquoi River | 2.056 | 0.806 | 1.149 | 0.981 | 0.009 | 0.266 | 0.286 | 0.433 | 0.261 | 0.204
Isle La Motte | Isle La Motte Direct Drainage | 1.967 | 0.729 | 0.759 | 0.746 | 0.036 | 0.024 | 0.084 | 0.076 | 0.077 | 0.069
Basin-wide |  | 2.138 | 0.81 | 1.115 | 0.98 | 0.036 | 0.238 | 0.288 | 0.412 | 0.243 | 0.064
*The basin wide average of the HSG soil type was used here, as these loads were not included in the TMDL modeling.
What should be our suggestion for the blanks on this table?
If a value is listed as N/A use the basin wide average of that soil group. We can add these numbers in and then add an asterisk and a footnote.

## BMP Definitions (hidden)
STP in Manual | Definitions | Variations in manual | LC BATT- Performance Curve | Storage volume required | Infiltration Rate required | Other info needed | Design Storage Volume (DSV) | Notes
Bioretention | Practice that treats runoff by passing it through a vegetated filter bed, with a filter mixture of sand, soil, and organic matter. Filtered stormwater is either returned to a conveyance system or infiltrated into the native soil. | Infiltrating | Surface Infiltration | ü | ü |  | DSV = Ponding water storage volume and void space volumes of soil filter media. Example: DSV = (Apond x Dpond) + (Asoil x Dsoil x nsoil mix)
|  | Underdrained | Bio-filtration | ü |  |  | DSV = Ponding water storage volume and void space volume of soil filter media. DSV = (Abed x Dponding)+ (Abed x Dsoil x nsoil)
Infiltration | Practices that capture and store stormwater runoff, for the express purpose of allowing it to infiltrate into the soil | Basin | Surface Infiltration | ü | ü |  | DSV = Water volume of storage structure before bypass. Example for linear trapazoidal vegetated swale. DSV = (L x ((Wbottom+Wtop@Dmax )/2) x D)
|  | Trench | Infiltration Trench | ü | ü |  | DSV = void space volumes of stone and sand layers. DSV = (Atrench x Dstone x nstone )+ (Atrench x Dsand x nsand)
|  | Subsurface | Infiltration Trench | ü | ü |  | DSV = void space volumes of stone and sand layers. DSV = (Atrench x Dstone x nstone )+ (Atrench x Dsand x nsand)
Dry Swale | A soil filter system that temporarily stores and then filters a desired runoff volume for treatment. It is configured as a linear channel, and covered with turf or surface material other than mulch and ornamental plants. | Infiltrating | Surface Infiltration | ü | ü |  | DSV = Water volume of storage structure before bypass. Example for linear trapazoidal vegetated swale. DSV = (L x ((Wbottom+Wtop@Dmax )/2) x D)
|  | Underdrained | Bio-filtration | ü |  |  | DSV = Ponding water storage volume and void space volume of soil filter media. DSV = (Abed x Dponding)+ (Abed x Dsoil x nsoil)
Filters | Filtering systems capture and temporarily store runoff and pass it through a filter bed of sand or augmented media. Filtered runoff may be collected (via underdrain), or allowed to exfiltrate into the soil. | Infiltrating | Infiltration Trench | ü | ü |  | DSV = void space volumes of stone and sand layers. DSV = (Atrench x Dstone x nstone )+ (Atrench x Dsand x nsand)
|  | Underdrained | Sand Filter | ü |  |  | DSV = Ponding water storage volume and void space volume of soil filter media. DSV = (Abed x Dponding)+ (Abed x Dsoil x nsoil)
Wet Pond | A practice consisting of a permanent pool of standing water that promotes a stable environment for gravitational settling, biological uptake, and microbial activity. | NA | Wet Pond | ü |  |  | DSV= Pemanant pool volume prior to high flow bypass DSV=Apond x Dpond (does not include pretreatment volume) | For storage volume use WQV calculated for pond. If no ED is used, WQV = Perm pool volume
Treatment Wetland | Treatment systems that maximize pollutant removal and the uptake of nutrients through wetland vegetation, retention, and settling. Gravel wetlands store water within the void spaces of gravel. Shallow surface wetlands use organic wetland soils and have a permanent pool of water that supports wetland plants. | Shallow Surface Wetland | Bio-filtration | ü |  |  | DSV = Ponding water storage volume and void space volume of soil filter media. DSV = (Abed x Dponding)+ (Abed x Dsoil x nsoil)
|  | Gravel Wetland | Gravel Wetland | ü |  |  | DSV = pretreatment volume + ponding volume + void space volume of gravel ISR. DSV = (A pretreatment x DpreTreatment)+ (A wetland x Dponding)+ (AISR x Dgravel x ngravel) Pretreatment | also asks for pretreatment volume
Permeable Pavement | Hardscape surfaces with an underlying reservoir course that captures and temporarily stores it before infiltrating into the underlying soil or conveying it elsewhere. | Subsurface infiltration | Infiltration Trench | ü | ü |  | DSV = void space volumes of stone and sand layers. DSV = (Atrench x Dstone x nstone )+ (Atrench x Dsand x nsand)
|  | Lined with underdrain | Porous Pavement |  |  | Depth of filter course | Depth of Filter course (Inches)
Footnotes:
DSV= Design Storage Volume = physical storage capacity to hold water
VSV=Void Space Volume
L= length, W= width, D= depth at design capacity before bypass, n=porosity fill material, A= average surface area for calculating volume
Infiltration rate = saturated soil hydraulic conductivity

## Dropdowns
(this tab can be hidden when you send it out to the public)
Unique ID | Responsible party (i.e., MS4/TS4) | Applicable FRP/PCP | Lake Segment | Drainage Area | BMP type | Infiltration Rate Required | BMP status (planned, constructed) | Complete |  | Lake Segment | Drainage Area | Lake Segment | Pervious Entry Type
BTV | Burlington Int'l Airport MS4 | n/a |  |  | Extended Dry Detention Pond | no | Planned | no | Yes | Burlington Bay | Mettawee River | South Lake B | Total Pervious
BUR | Burlington MS4 | Allen Brook | Main Lake | Winooski River | Bioretention (infiltrating) | yes | Preliminary Design (<100%) | no | No | Isle La Motte | Poultney River | South Lake B | By HSG
COL | Colchester MS4 | Bartlett Brook | Shelburne Bay | Laplatte River | Bioretention (w/ underdrain) | no | Final Design (100%) | no | N/A | Main Lake | South Lake B Direct Drainage | South Lake B
EST | Essex Town MS4 | Centennial Brook | Main Lake | Winooski River | Dry Swale (infiltrating) | yes | Under Construction | no |  | Malletts Bay | South Lake A Direct Drainage | South Lake A
ESJ | Essex Junction MS4 | Englesby Brook | Burlington Bay | Burlington Bay Direct Drainage | Dry Swale (w/ underdrain) | no | Complete | yes | Yes (include previoius drainage area info) | Missisquoi Bay | Port Henry Direct Drainage | Port Henry
RUT | Rutland Town MS4 | Indian Brook | Malletts Bay | Malletts Bay Direct Drainage | Gravel Wetland | no | No Longer Planned |  | No | Northeast Arm | Lewis Creek | Otter Creek
SHE | Shelburne MS4 | Moon Brook | Otter Creek | Otter Creek | Infiltration Chambers | yes |  |  |  | Otter Creek | Little Otter Creek | Otter Creek
SBU | South Burlington MS4 | Morehouse Brook | Main Lake | Winooski River | Infiltration Basin | yes |  |  |  | Port Henry | Otter Creek | Otter Creek
SAC | St. Albans City MS4 | Munroe Brook | Shelburne Bay | Laplatte River | Infiltration Trench | yes |  |  |  | Shelburne Bay | Otter Creek Direct Drainage | Otter Creek
SAT | St. Albans Town MS4 | Potash Brook | Shelburne Bay | Laplatte River | Porous Pavement | yes |  |  |  | South Lake A | Main Lake Direct Drainage | Main Lake
UVM | University of Vermont MS4 | Rugg Brook | St. Albans Bay | St. Albans Bay Direct Drainage | Sand filter (infiltrating) | yes |  |  |  | South Lake B | Winooski River | Main Lake
WIL | Williston MS4 | Stevens Brook | St. Albans Bay | St. Albans Bay Direct Drainage | Sand filter (w/ underdrain) | no |  |  |  | St. Albans Bay | Laplatte River | Shelburne Bay
WIN | Winooski MS4 | Sunderland Brook | Main Lake | Winooski River | Wet pond/ Created Wetland | no |  |  |  |  | Burlington Bay - CSO | Burlington Bay
VTR | VTrans TS4 |  |  |  | Grass Channel | no |  |  |  |  | Burlington Bay Direct Drainage | Burlington Bay
[11 empty] | Lamoille River | Malletts Bay
[11 empty] | Malletts Bay Direct Drainage | Malletts Bay
[11 empty] | Northeast Arm Direct Drainage | Northeast Arm
[11 empty] | St. Albans Bay Direct Drainage | St. Albans Bay
[11 empty] | Mississquoi Bay Direct Drainage | Missisquoi Bay
[11 empty] | Mississquoi River | Missisquoi Bay
[11 empty] | Isle La Motte Direct Drainage | Isle La Motte