## 0-Instructions
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
INSTRUCTIONS
The Vermont League of Cities and Towns (VLCT), in partnership with the Vermont Department of Environmental Conservation, Ecosystem Restoration Program (ERP), has updated the Vermont Model Low Impact Development Stormwater Management Bylaw, which was released in 2008. As part of the update, this sizing tool and related guidance was created with the goal of making stormwater management more accessible to small and moderately-sized towns seeking to manage stormwater from development and re-development projects that fall below the permitting thresholds for State stormwater permitting, often referred to as “sub-jurisdictional”.
This tool can be utilized to size, and aid in the review of, green stormwater infrastructure (GSI) best management practices (BMPs) for small projects – projects creating up to ½-acre of impervious surface. The sizing criteria for BMPs included in the sizing spreadsheet are calibrated to meet the draft Water Quality Treatment Standard, which will require treatment of the “first inch” of runoff from proposed impervious surfaces.
As part of a zoning or building permit application, applicants should develop a site plan following the guidelines appropriate for the town. Normal site plan items relevant to stormwater management include: ■ Existing and proposed ground contours and elevations; ■ Locations of existing sanitary and storm sewers (if any), on-site wells and septic systems (if any), structures, and easements; ■ Location, configuration, and finished floor elevations for existing and proposed structures; ■ Location, configuration, and finished elevations for existing and proposed paved areas; ■ Erosion and sediment control practices as included in The Low Risk Site Handbook for Erosion Prevention and Sediment Control or other appropriate guidance; and For stormwater management, the following guidance applies to all designs: ■ Stormwater runoff from the first one inch of rainfall on any impervious surface must be captured on site and dissipated through the use of infiltration, evapotranspiration, or alternate use (such as irrigation). It cannot run off the site. ■ Details of all Green Stormwater Infrastructure practices should be attached to the site plan. Wherever possible, use the specification sheets from this guidance document, or sets of plans of equal detail and coverage.
On the site plan, use a consistent naming convention for impervious areas contributing runoff to a GSI practice, and the practice used to capture that runoff. For instance, "Area 1" might contain a structure and the cistern used to store runoff from the roof, or "Area A" might contain a driveway and the vegetated swale used to capture and infiltrate runoff from the driveway. The accompanying standard specification sheet, and sizing details from this spreadsheet, can then be easily attached to the application. Individual site areas and GSI practices may be sketched either on a single site plan, or using the tear-off specification sheets included in the guidance.
The Post-Construction Soil Depth and Quality requirements must be met for any areas that are disturbed during a development or re-development project under the Model LID/GSI Bylaw. The remaining GSI practices represent a menu of possible options--any or all of which can be applied to an individual site where the conditions are appropriate. Applicants must treat the runoff from proposed impervious cover, but this tool is intended to provide a wide and flexible range of possibilities for implementation.
On each of the sheets in this sizing tool, fields marked in blue are intended to be filled in by the applicant and are editable. Fields marked in green show calculation results and cannot be edited.

## 1-Project Information
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
PROJECT INFORMATION SUMMARY
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
Name of Owner or Developer
Name of Applicant (if different from Owner)
Primary Contact Phone Number
Primary Contact E-mail Address
Project Location [e911 Address, or intersection or parcel ID No.]
Project Description [Examples: “Single Family Residence,” “Parking Lot Addition,” “Retail and Parking”]
Total Project Site Area (acres)
Total Earth Disturbance (square feet) [Sum of currently pervious areas that will be cleared, graded, or otherwise disturbed during construction]
Total New Impervious Surface Area (square feet) [Sum of currently pervious areas that will be covered with new impervious surfaces]
Total Redeveloped or Replaced Impervious Surface Area (square feet) [Sum of currently impervious areas that will be covered with new impervious surfaces.]
Total Pre-Project Impervious Surface Area (square ft.)
Total Post-Project Impervious Surface Area (square ft.)
Green Stormwater Infrastructure Practices Selected |  | Total Area Treated Using Selected Practices (sq. ft.)
[Check one or more, include sizing detail sheets for each practice selected] |  | [Enter the total surface area treated using each selected practice on the lines below]
Post-Construction Soil Depth and Quality (required) | X | 0
Tree retention and planting |  | 0
Cisterns and rain barrels |  | 0
Rooftop disconnection |  | 0
Non-rooftop disconnection |  | 0
Drywell |  | 0
Rain garden / bioretention |  | 0
Vegetated swale |  | 0
Infiltration trench |  | 0
Permeable pavers |  | 0
Site Plan Attached?

## 2-Soil depth and quality
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
POST-CONSTRUCTION SOIL DEPTH AND QUALITY, SOIL MANAGEMENT PLAN DETAILS
Project Name/Number |  |  | BETA-001
Application Submittal Date |  |  | 2015-10-01
AREA NO.
PLANTING TYPE |  |  |  | Turf |  |  | Undisturbed native vegetation
|  |  |  | Planting Beds |  |  | Other:
Square footage of this area: |  |  | 0 | square feet
SCARIFICATION
| Subsoil will be scarified |  |  | inches (depth) of scarification needed to achieve finished total 12" loosened depth.
PRE-APPROVED AMENDMENT METHOD:
| Topsoil import |  | 0 | inches of compost or imported topsoil applied |  |  |  | PRODUCT:
| Amend with compost |  |  | × 3.1 (conversion factor, inches to cubic yards)
| Stockpile and amend |  | 0 | = cu. yards per 1,000 square feet
|  | cubic yards |  | × | 1 | ,000 square feet in this area
|  | stockpiled | 0 | = cubic yards of amendment needed to cover this area to designated depth |  |  |  | QUANTITY: | 0 | CU. YDS.
MULCH |  |  | 0 | ,000 square feet to be mulched |  |  |  | PRODUCT:
× 6.2 (conversion factor, to give 2 in. mulch depth)
|  |  | 0 | = cubic yards of mulch needed |  |  |  | QUANTITY: | 0 | CU. YDS.
AREA NO.
PLANTING TYPE |  |  |  | Turf |  |  | Undisturbed native vegetation
|  |  |  | Planting Beds |  |  | Other:
Square footage of this area: |  |  | 0 | square feet
SCARIFICATION
| Subsoil will be scarified |  |  | inches (depth) of scarification needed to achieve finished total 12" loosened depth.
PRE-APPROVED AMENDMENT METHOD:
| Topsoil import |  | 0 | inches of compost or imported topsoil applied |  |  |  | PRODUCT:
| Amend with compost |  |  | × 3.1 (conversion factor, inches to cubic yards)
| Stockpile and amend |  | 0 | = cu. yards per 1,000 square feet
|  | cubic yards |  | × | 1 | ,000 square feet in this area
|  | stockpiled | 0 | = cubic yards of amendment needed to cover this area to designated depth |  |  |  | QUANTITY: | 0 | CU. YDS.
MULCH |  |  | 0 | ,000 square feet to be mulched |  |  |  | PRODUCT:
× 6.2 (conversion factor, to give 2 in. mulch depth)
|  |  | 0 | = cubic yards of mulch needed |  |  |  | QUANTITY: | 0 | CU. YDS.
AREA NO.
PLANTING TYPE |  |  |  | Turf |  |  | Undisturbed native vegetation
|  |  |  | Planting Beds |  |  | Other:
Square footage of this area: |  |  | 0 | square feet
SCARIFICATION
| Subsoil will be scarified |  |  | inches (depth) of scarification needed to achieve finished total 12" loosened depth.
PRE-APPROVED AMENDMENT METHOD:
| Topsoil import |  | 0 | inches of compost or imported topsoil applied |  |  |  | PRODUCT:
| Amend with compost |  |  | × 3.1 (conversion factor, inches to cubic yards)
| Stockpile and amend |  | 0 | = cu. yards per 1,000 square feet
|  | cubic yards |  | × | 1 | ,000 square feet in this area
|  | stockpiled | 0 | = cubic yards of amendment needed to cover this area to designated depth |  |  |  | QUANTITY: | 0 | CU. YDS.
MULCH |  |  | 0 | ,000 square feet to be mulched |  |  |  | PRODUCT:
× 6.2 (conversion factor, to give 2 in. mulch depth)
|  |  | 0 | = cubic yards of mulch needed |  |  |  | QUANTITY: | 0 | CU. YDS.
Total Site Area Treated Using the Post-Construction Soil Depth and Quality Requirements - Transfer this number to Sheet #1, Project Information: | [7 empty] | 0 | square feet

## 3-Tree retention and planting
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
TREE RETENTION AND PLANTING CREDIT DETAILS
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
DESIGN TABLE:
BMP | Tree Type | Impervious Area Credit
Retained Tree | Evergreen | 20% canopy area (min. 100 ft2 / tree)
| Deciduous | 10% canopy area (min. 50 ft2 / tree)
Newly Planted Tree | Evergreen | 50 ft2 / tree
| Deciduous | 20 ft2 / tree
AREA NO. |  | (ground level impervious areas only)
Square footage of impervious area: |  |  | 0 | square feet (maximum 10,000 square feet)
Number of evergreen trees to be retained: |  |  | 0 | trees (meeting min. size, 20 ft. or less from impervious)
Total canopy area of evergreen trees to be retained: |  |  | 0 | square feet
Number of deciduous trees to be retained: |  |  | 0 | trees (meeting min. size, 20 ft. or less from impervious)
Total canopy area of deciduous trees to be retained: |  |  | 0 | square feet
Number of new evergreen trees to be planted: |  |  | 0 | trees
Number of new deciduous trees to be planted: |  |  | 0 | trees
TREE CREDIT CALCULATION RESULTS:
Total impervious area reduction credit for retained evergreen trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for retained deciduous trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for newly planted evergreen trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for newly planted deciduous trees: |  |  |  |  | 0 | square feet
Total tree credits (maximum 25% of impervious area needing treatment): |  |  |  |  | 0 | square feet
Total volume of stormwater to be treated without tree credits: |  |  |  | 0 | cubic feet
Remaining volume of stormwater to be treated WITH tree credits: |  |  |  | 0 | cubic feet
AREA NO. |  | (ground level impervious areas only)
Square footage of impervious area: |  |  | 0 | square feet (maximum 10,000 square feet)
Number of evergreen trees to be retained: |  |  | 0 | trees (meeting min. size, 20 ft. or less from impervious)
Total canopy area of evergreen trees to be retained: |  |  | 0 | square feet
Number of deciduous trees to be retained: |  |  | 0 | trees (meeting min. size, 20 ft. or less from impervious)
Total canopy area of deciduous trees to be retained: |  |  | 0 | square feet
Number of new evergreen trees to be planted: |  |  | 0 | trees
Number of new deciduous trees to be planted: |  |  | 0 | trees
TREE CREDIT CALCULATION RESULTS:
Total impervious area reduction credit for retained evergreen trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for retained deciduous trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for newly planted evergreen trees: |  |  |  |  | 0 | square feet
Total impervious area reduction credit for newly planted deciduous trees: |  |  |  |  | 0 | square feet
Total tree credits (maximum 25% of impervious area needing treatment): |  |  |  |  | 0 | square feet
Total volume of stormwater to be treated without tree credits: |  |  |  | 0 | cubic feet
Remaining volume of stormwater to be treated WITH tree credits: |  |  |  | 0 | cubic feet
Total Impervious Area Treated Using Tree Credits - Transfer this number to Sheet #1, Project Information: |  |  |  |  | 0 | square feet

## 4-Cisterns & rain barrels
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
CISTERNS AND RAIN BARRELS SIZING DETAILS
Project Name/Number |  |  | BETA-001
Application Submittal Date |  |  | 2015-10-01
AREA NO. |  |  | (rooftop areas only)
Square footage of this area: |  |  | 0 | square feet (maximum 10,000 square feet per downspout)
SIZING CALCULATION RESULTS:
Cistern volume = 0.56 gallons × total square feet of rooftop area directed to cistern
|  | Rooftop area directed to cistern = | 0 | square feet
|  | Cistern size needed = | 0 | gallons
AREA NO. |  |  | (rooftop areas only)
Square footage of this area: |  |  | 0 | square feet (maximum 10,000 square feet per downspout)
SIZING CALCULATION RESULTS:
Cistern volume = 0.56 gallons × total square feet of rooftop area directed to cistern
|  | Rooftop area directed to cistern = | 0 | square feet
|  | Cistern size needed = | 0 | gallons
AREA NO. |  |  | (rooftop areas only)
Square footage of this area: |  |  | 0 | square feet (maximum 10,000 square feet per downspout)
SIZING CALCULATION RESULTS:
Cistern volume = 0.56 gallons × total square feet of rooftop area directed to cistern
|  | Rooftop area directed to cistern = | 0 | square feet
|  | Cistern size needed = | 0 | gallons
AREA NO. |  |  | (rooftop areas only)
Square footage of this area: |  |  | 0 | square feet (maximum 10,000 square feet per downspout)
SIZING CALCULATION RESULTS:
Cistern volume = 0.56 gallons × total square feet of rooftop area directed to cistern
|  | Rooftop area directed to cistern = | 0 | square feet
|  | Cistern size needed = | 0 | gallons
AREA NO. |  |  | (rooftop areas only)
Square footage of this area: |  |  | 0 | square feet (maximum 10,000 square feet per downspout)
SIZING CALCULATION RESULTS:
Cistern volume = 0.56 gallons × total square feet of rooftop area directed to cistern
|  | Rooftop area directed to cistern = | 0 | square feet
|  | Cistern size needed = | 0 | gallons
Total Impervious Area Treated Using Cisterns and Rain Barrels - Transfer this number to Sheet #1, Project Information: |  |  |  |  | 0 | square feet

## 5-Rooftop disconnection
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
ROOFTOP DISCONNECTION SIZING DETAILS
Project Name/Number | BETA-001
Application Submittal Date | 2015-10-01
DESIGN TABLE:
Disconnection Area Slope
HSG of soil in disconnection area | Less than 8% | 8-15%
A/B or infiltration rate >=0.5 in./hr | 35 feet | 50 feet
C/D or infiltration rate < 0.5 in./hr | 65 feet | 85 feet
AREA NO. | (rooftop areas only)
Square footage of rooftop area: | 0 | square feet (maximum 1,000 square feet per downspout)
Slope of the disconnection area: | 0 | % (whole number slope %)
Infiltration rate: | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Required Disconnection Area Width (across slope, on contour): |  |  | 12 | feet
Required Disconnection Area Length (down-slope): |  |  | 35 | feet
Grade controls every 20 feet are: | NOT REQUIRED
AREA NO. | (rooftop areas only)
Square footage of rooftop area: | 0 | square feet (maximum 1,000 square feet per downspout)
Slope of the disconnection area: | 0 | % (whole number slope %)
Infiltration rate: | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Required Disconnection Area Width (across slope, on contour): |  |  | 12 | feet
Required Disconnection Area Length (down-slope): |  |  | 35 | feet
Grade controls every 20 feet are: | NOT REQUIRED
AREA NO. | (rooftop areas only)
Square footage of rooftop area: | 0 | square feet (maximum 1,000 square feet per downspout)
Slope of the disconnection area: | 0 | % (whole number slope %)
Infiltration rate: | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Required Disconnection Area Width (across slope, on contour): |  |  | 12 | feet
Required Disconnection Area Length (down-slope): |  |  | 35 | feet
Grade controls every 20 feet are: | NOT REQUIRED
Total Impervious Area Treated Using Rooftop Disconnection - Transfer this number to Sheet #1, Project Information: |  |  |  | 0 | square feet

## 6-Non-rooftop disconnection
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
NON-ROOFTOP DISCONNECTION TO FILTER STRIP SIZING DETAILS
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
DESIGN TABLE:
Impervious Area Geometry |  |  | Infiltration rate for filter strip |  | Filter Strip Slope
Contributing flow path length (feet) | Total impervious area (square feet) |  |  |  | Less than 4% | 4-6% | 6-8%
1-35 | Less than 1,000 |  | Infiltration rate >=0.5 in./hr |  | Flow path length x 1.0 (up to 35 feet)
|  |  | Infiltration rate < 0.5 in./hr |  | Flow path length x 1.9 (up to 65 feet)
35-75 | 1,000-5,000 |  | Infiltration rate >=0.5 in./hr |  | 35 feet | 50 feet | 65 feet
|  |  | Infiltration rate < 0.5 in./hr |  | 65 feet | 85 feet | 105 feet
AREA NO.
Type of impervious surface:
Width of impervious surface: |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Impervious area treated using tree credits: |  | 0 | square feet (maximum 25% of impervious area, enter from "Tree Retention and Planting" sheet)
Remaining impervious area to be treated: |  | 0 | square feet (maximum 5,000 square feet per filter strip)
Slope of the filter strip area: |  | 1 | % (whole number slope %)
Infiltration rate: |  | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Required Filter Strip Width (across slope, on contour): |  |  |  | 0 | feet | NOTE: Required filter strip length is proportionately reduced when tree credits are used in combination with non-rooftop disconnection.
Required Filter Strip Length, No Tree Credits (down-slope): |  |  |  | 0 | feet
Required Filter Strip Length With Tree Credits (down-slope): |  |  |  | Not Applicable | feet
Required Filter Strip Area: |  |  |  | 0 | square feet
Gravel Diaphragm is: | NOT REQUIRED
AREA NO.
Type of impervious surface:
Width of impervious surface: |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Impervious area treated using tree credits: |  | 0 | square feet (maximum 25% of impervious area, enter from "Tree Retention and Planting" sheet)
Remaining impervious area to be treated: |  | 0 | square feet (maximum 5,000 square feet per filter strip)
Slope of the filter strip area: |  | 1 | % (whole number slope %)
Infiltration rate: |  | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Required Filter Strip Width (across slope, on contour): |  |  |  | 0 | feet | NOTE: Required filter strip length is proportionately reduced when tree credits are used in combination with non-rooftop disconnection.
Required Filter Strip Length, No Tree Credits (down-slope): |  |  |  | 0 | feet
Required Filter Strip Length With Tree Credits (down-slope): |  |  |  | Not Applicable | feet
Required Filter Strip Area: |  |  |  | 0 | square feet
Gravel Diaphragm is: | NOT REQUIRED
Total Impervious Area Treated Using Non-Rooftop Disconnection to Filter Strip - Transfer this number to Sheet #1, Project Information: | [5 empty] | 0 | square feet

## 7-Drywell
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
DRYWELL SIZING DETAILS
Project Name/Number |  |  | BETA-001
Application Submittal Date |  |  | 2015-10-01
DESIGN TABLE:
Gravel Jacket Depth (inches) | Tank Height (inches) | Tank Inside Diameter (inches)
|  | 24 | 30 | 36 | 42 | 48
Contributing Rooftop Area Captured (square feet)
12 | 30 | 254.1658 | 342.1139 | 444.5132 | 561.3639 | 692.666
12 | 36 | 293.6507 | 396.0335 | 515.3479 | 651.5938 | 804.7712
12 | 48 | 372.6204 | 503.8728 | 657.0172 | 832.0535 | 1028.9817
| Hole Depth (inches) | 6-inch Perforated Standpipe Gravel Filled Hole Diameter (inches)
|  | 24 | 30 | 36 | 42 | 48
Contributing Rooftop Area Captured (square feet)
| 24 | 29.4979 | 46.0905 | 66.3703 | 90.3373 | 117.9916
| 30 | 36.0456 | 56.3213 | 81.1027 | 110.3898 | 144.1826
| 36 | 42.5934 | 66.5522 | 95.8351 | 130.4422 | 170.3735
| 42 | 49.1411 | 76.783 | 110.5675 | 150.4947 | 196.5645
| 48 | 55.6889 | 87.0138 | 125.2999 | 170.5471 | 222.7555
AREA NO. |  |  |  | (rooftop areas only)
Rooftop width: |  |  |  | 0 | feet
Rooftop length: |  |  |  | 0 | feet
Square footage of impervious area: |  |  |  | 0 | square feet (maximum 1,000 square feet per downspout)
Soil infiltration rate: |  |  |  | 0.5 | inches/hour (minimum 0.5 inches/hour)
Manufactured Tank and Gravel Jacket Option:
| Tank inside diameter: |  |  | 0 | inches (24 inch minimum, 48 inch maximum)
| Tank inside depth: |  |  | 0 | inches (30 inch minimum, 48 inch maximum)
| Gravel jacket depth: |  |  | 12 | inches
| Total number of drywells: |  |  | 0
Gravel Filled Hole with 6" Perforated Pipe Option:
| Gravel filled hole diameter: |  |  | 0 | inches (24 inch minimum, 48 inch maximum)
| Gravel filled hole depth: |  |  | 0 | inches (24 inch minimum, 48 inch maximum)
| Total number of drywells: |  |  | 0
SIZING CALCULATION RESULTS:
Total volume of stormwater to be treated: | [5 empty] | 0 | cubic feet
Volume of stormwater treated using manufactured tank drywell(s): | [5 empty] | 0 | cubic feet
Impervious area treated using manufactured tank drywell(s): | [5 empty] | 0 | square feet
| Total aggregate volume needed: |  |  |  |  | 0 | cubic yards
Volume of stormwater treated using gravel filled hole drywell(s): | [5 empty] | 0 | cubic feet
Impervious area treated using gravel filled hole drywell(s): | [5 empty] | 0 | square feet
| Total aggregate volume needed: |  |  |  |  | 0 | cubic yards
Total Impervious Area Treated Using Drywells - Transfer this number to Sheet #1, Project Information: | [6 empty] | 0 | square feet

## 8-Bioretention and rain gardens
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
BIORETENTION AND RAIN GARDENS SIZING DETAILS
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
DESIGN TABLE (ASSUMES 6 INCHES OF PONDING AND 0.5 INCHES/HOUR INFILTRATION RATE)
Total impervious surface area (square feet) | Depth of Bioretention Soil Mix (inches)
| 18 | 24 | 30 | 36
Bioretention Filter Bed Surface Area (sq. ft.)
100 | 8.3333 | 7.197 | 6.3333 | 5.6548
500 | 41.6667 | 35.9848 | 31.6667 | 28.2738
1000 | 83.3333 | 71.9697 | 63.3333 | 56.5476
2000 | 166.6667 | 143.9394 | 126.6667 | 113.0952
3000 | 250 | 215.9091 | 190 | 169.6429
4000 | 333.3333 | 287.8788 | 253.3333 | 226.1905
5000 | 416.6667 | 359.8485 | 316.6667 | 282.7381
7500 | 625 | 539.7727 | 475 | 424.1071
10000 | 833.3333 | 719.697 | 633.3333 | 565.4762
AREA NO.
Type of impervious surface: |  |  | parking lot
Width of impervious surface: |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Impervious area treated using tree credits: |  |  | 0 | square feet (maximum 25% of impervious area, enter from "Tree Retention and Planting" sheet)
Remaining impervious area to be treated: |  |  | 0 | square feet (max. 10,000 sq. ft. impervious per bioretention area)
Ponding depth (inches): |  |  | 6 | inches (minimum 6 inches, maximum 9 inches)
Depth of bioretention soil mix: |  |  | 18 | inches (minimum 18 inches, maximum 48 inches)
Infiltration rate: |  |  | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: |  |  |  |  | 0 | cubic feet
Required Bioretention Bottom Area (not counting sides, berms, etc.): |  |  |  |  | 0 | square feet
NOTE: Required bioretention bottom area is proportionately reduced when tree credits are used in combination with bioretention.
Underdrain is: | NOT REQUIRED
Total Impervious Area Treated Using Bioretention and Rain Gardens - Transfer this number to Sheet #1, Project Information: | [5 empty] | 0 | square feet

## 9-Vegetated swale
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
VEGETATED SWALE SIZING DETAILS
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
DESIGN TABLE (ASSUMES 6 INCHES OF PONDING AND 0.5 INCHES/HOUR INFILTRATION RATE)
Total impervious surface area (square feet) | Depth of Vegetated Swale Soil Mix (inches)
| 18 | 24 | 30 | 36
Veg. Swale Filter Bed Surface Area (square feet)
100 | 8.3333 | 7.197 | 6.3333 | 5.6548
500 | 41.6667 | 35.9848 | 31.6667 | 28.2738
1000 | 83.3333 | 71.9697 | 63.3333 | 56.5476
2000 | 166.6667 | 143.9394 | 126.6667 | 113.0952
3000 | 250 | 215.9091 | 190 | 169.6429
4000 | 333.3333 | 287.8788 | 253.3333 | 226.1905
5000 | 416.6667 | 359.8485 | 316.6667 | 282.7381
7500 | 625 | 539.7727 | 475 | 424.1071
10000 | 833.3333 | 719.697 | 633.3333 | 565.4762
AREA NO.
Type of impervious surface: |  |  | parking lot
Width of impervious surface: |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Impervious area treated using tree credits: |  |  | 0 | square feet (maximum 25% of impervious area, enter from "Tree Retention and Planting" sheet)
Remaining impervious area to be treated: |  |  | 0 | square feet (max. 10,000 sq. ft. impervious per swale area)
Ponding depth (inches): |  |  | 6 | inches (minimum 6 inches, maximum 9 inches)
Depth of vegetated swale soil mix: |  |  | 18 | inches (minimum 18 inches, maximum 48 inches)
Infiltration rate: |  |  | 0.5 | inches / hour
Vegetated swale bottom width: |  |  | 2 | feet (min. 2 feet, max. 8 feet)
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: |  |  |  |  | 0 | cubic feet
Required Vegetated Swale Bottom Area (not counting sides, berms, etc.): | [5 empty] | 0 | square feet
Required Vegetated Swale Length: | [5 empty] | 0 | feet
NOTE: Required vegetated swale bottom area is proportionately reduced when tree credits are used in combination with swales.
Underdrain is: | NOT REQUIRED
Total Impervious Area Treated Using Vegetated Swales - Transfer this number to Sheet #1, Project Information: | [5 empty] | 0 | square feet

## 10-Infiltration trench
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
INFILTRATION TRENCH SIZING DETAILS
Project Name/Number |  |  | BETA-001
Application Submittal Date |  |  | 2015-10-01
DESIGN TABLE (assuming a trench width of 24 inches and a soil infiltration rate of 0.5 inches/hour):
Contributing rooftop impervious area (square feet) |  | Depth of Gravel in Trench (inches)
|  | 18 | 24 | 30 | 36
Required Linear Feet of Trench (feet)
100 |  | 6.8444 | 5.3251 | 4.3578 | 3.6879
500 |  | 34.2219 | 26.6256 | 21.789 | 18.4394
1000 |  | 68.4438 | 53.2511 | 43.578 | 36.8789
2000 |  | 136.8876 | 106.5022 | 87.156 | 73.7578
3000 |  | 205.3314 | 159.7534 | 130.7339 | 110.6366
4000 |  | 273.7752 | 213.0045 | 174.3119 | 147.5155
5000 |  | 342.219 | 266.2556 | 217.8899 | 184.3944
7500 |  | 513.3285 | 399.3834 | 326.8349 | 276.5916
10000 |  | 684.438 | 532.5112 | 435.7798 | 368.7888
AREA NO. |  |  |  | (rooftop areas only)
Width of impervious surface: |  |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Square footage of impervious area: |  |  |  | 0 | square feet (maximum 10,000 square feet per trench)
Trench width: |  |  |  | 24 | inches (minimum 18 inches, maximum 32 inches)
Depth of aggregate in trench: |  |  |  | 18 | inches (minimum 18 inches, maximum 36 inches)
Infiltration rate: |  |  |  | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: | [5 empty] | 0 | cubic feet
Required Infiltration Trench Length: | [5 empty] | 0 | feet
| Trench Width: |  |  |  |  | 2 | feet
| Trench Depth: |  |  |  |  | 1.5 | feet
| Total Aggregate Volume Needed: |  |  |  |  | 0 | cubic yards
AREA NO. |  |  |  | (rooftop areas only)
Width of impervious surface: |  |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of impervious surface: |  |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Square footage of impervious area: |  |  |  | 0 | square feet (maximum 10,000 square feet per trench)
Trench width: |  |  |  | 24 | inches (minimum 18 inches, maximum 32 inches)
Depth of aggregate in trench: |  |  |  | 18 | inches (minimum 18 inches, maximum 36 inches)
Infiltration rate: |  |  |  | 0.5 | inches / hour
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: | [5 empty] | 0 | cubic feet
Required Infiltration Trench Length: | [5 empty] | 0 | feet
| Trench Width: |  |  |  |  | 2 | feet
| Trench Depth: |  |  |  |  | 1.5 | feet
| Total Aggregate Volume Needed: |  |  |  |  | 0 | cubic yards
Total Impervious Area Treated Using Infiltration Trenches - Transfer this number to Sheet #1, Project Information: | [6 empty] | 0 | square feet

## 11-Permeable pavers
GREEN STORMWATER INFRASTRUCTURE SIMPLIFIED SIZING TOOL FOR SMALL PROJECTS
PERMEABLE PAVER SYSTEM SIZING DETAILS
Project Name/Number |  | BETA-001
Application Submittal Date |  | 2015-10-01
NOTE: THERE IS NO DESIGN TABLE FOR THIS PRACTICE.
A 6-inch gravel reservoir course provides storage for 2.5 inches of rainfall, or roughly the two-year storm across VT.
AREA NO.
Width of permeable paver surface: |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of permeable paver surface: |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Square footage of permeable paver area: |  |  | 0 | square feet (maximum 10,000 sq. ft. per permeable paver area)
Slope of proposed permeable paver area: |  |  | 5 | % (feet of rise / feet of run), maximum 5%
Infiltration rate: |  |  | 0.5 | inches/hour (minimum 0.5 inches/hour for paver systems)
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: |  |  |  |  | 0 | cubic feet
Bedding Course Depth (3/8" pea gravel or #8 stone): |  |  |  |  | 3 | inches (minimum 2-3 inches or per manufacturer's instructions)
| Total Bedding Course Stone Volume Needed: |  |  |  | 0 | cubic yards
Reservoir Course Gravel Depth (1/2" to 1 1/2" clean aggregate): |  |  |  |  | 6 | inches (minimum 6 inches)
| Total Gravel Volume Needed: |  |  |  | 0 | cubic yards
AREA NO.
Width of permeable paver surface: |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of permeable paver surface: |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Square footage of permeable paver area: |  |  | 0 | square feet (maximum 10,000 sq. ft. per permeable paver area)
Slope of proposed permeable paver area: |  |  | 5 | % (feet of rise / feet of run), maximum 5%
Infiltration rate: |  |  | 0.5 | inches/hour (minimum 0.5 inches/hour for paver systems)
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: |  |  |  |  | 0 | cubic feet
Bedding Course Depth (3/8" pea gravel or #8 stone): |  |  |  |  | 3 | inches (min.2-3 in. or per manufacturer)
| Total Bedding Course Stone Volume Needed: |  |  |  | 0 | cubic yards
Reservoir Course Gravel Depth (1/2" to 1 1/2" clean aggregate): |  |  |  |  | 6 | inches (minimum 6 inches)
| Total Gravel Volume Needed: |  |  |  | 0 | cubic yards
AREA NO.
Width of permeable paver surface: |  |  | 0 | feet (measured at the down-slope edge parallel to contour)
Length of permeable paver surface: |  |  | 0 | feet (measured from uphill to downhill edge, in flow direction)
Square footage of permeable paver area: |  |  | 0 | square feet (maximum 10,000 sq. ft. per permeable paver area)
Slope of proposed permeable paver area: |  |  | 5 | % (feet of rise / feet of run), maximum 5%
Infiltration rate: |  |  | 0.5 | inches/hour (minimum 0.5 inches/hour for paver systems)
SIZING CALCULATION RESULTS:
Volume of stormwater to be treated: |  |  |  |  | 0 | cubic feet
Bedding Course Depth (3/8" pea gravel or #8 stone): |  |  |  |  | 3 | inches (min.2-3 in. or per manufacturer)
| Total Bedding Course Stone Volume Needed: |  |  |  | 0 | cubic yards
Reservoir Course Gravel Depth (1/2" to 1 1/2" clean aggregate): |  |  |  |  | 6 | inches (minimum 6 inches)
| Total Gravel Volume Needed: |  |  |  | 0 | cubic yards
Total Impervious Area Treated Using Permeable Pavers - Transfer this number to Sheet #1, Project Information: | [5 empty] | 0 | square feet